## General
Reference No. | Measurable Element | Checkpoint | Compliance | Assessment Method | Means of Verification | Remarks
Area of Concern - C Inputs
Standard C5 | The facility has equipment & instruments required for assured list of services.
ME C5.11 | basin 825 ml. ss (Stainless Steel) Ref. IS 3992 | basin 825 ml. ss (Stainless Steel) Ref. IS 3992 |  | RR/SI | Expected: 1 stainless steel basin
ME C5.12 | Instrument tray with cover | Instrument tray with cover |  | RR/SI | Expected: 5 trays
ME C5.13 | Delivery tray | Delivery tray |  | RR/SI | Expected: 2 trays organised and kept
ME C5.14 | Baby tray | Baby tray |  | RR/SI | Expected: 2 trays organised and kept
ME C5.15 | PPH tray | PPH tray |  | RR/SI | Expected: 1 tray organised and kept
ME C5.16 | Eclampsia tray | Eclampsia tray |  | RR/SI | Expected: 1 tray organised and kept
ME C5.17 | Emergency medicine tray | Emergency medicine tray |  | RR/SI | Expected: 1 tray organised and kept
ME C5.18 | Flashlight/torch box-type pre-focused (4 cell) | Flashlight/torch box-type pre-focused (4 cell) |  | RR/SI | Expected: 1
ME C5.19 | torch (ordinary) | torch (ordinary) |  | RR/SI | Expected: 1
ME C5.20 | Dressing Drum with cover 0.945 liters stainless steel | Dressing Drum with cover 0.945 liters stainless steel |  | RR/SI | Expected: 1
ME C5.21 | Hemoglobinometer – set Sahli type complete | Hemoglobinometer – set Sahli type complete |  | RR/SI | Expected: 1
ME C5.22 | Weighing Scale, Adult 125 kg/280 lb | Weighing Scale, Adult 125 kg/280 lb |  | RR/SI | Expected: 1
ME C5.23 | Weighing Scale, Infant (10 kg) | Weighing Scale, Infant (10 kg) |  | RR/SI | Expected: 1
ME C5.24 | Weighing Scale, (baby) hanging type, 5 kg | Weighing Scale, (baby) hanging type, 5 kg |  | RR/SI | Expected: 1
ME C5.25 | Sterilizer | Sterilizer |  | RR/SI | 1 Boiler or Autoclave
ME C5.26 | Surgical Scissors straight 140 mm, ss | Surgical Scissors straight 140 mm, ss |  | RR/SI | Expected: 4
ME C5.27 | Episiotomy scissors | Episiotomy scissors |  | RR/SI | Expected: 2
ME C5.28 | Sphygmomanometer with cuff | Sphygmomanometer with cuff |  | RR/SI | Expected: 1
ME C5.29 | kelly’s hemostat Forceps | kelly’s hemostat Forceps |  | RR/SI | Expected: 1
ME C5.30 | Vulsellum uterine Forceps | Vulsellum uterine Forceps |  | RR/SI | Expected: 1
ME C5.31 | Cusco’s/Graves Speculum vaginal bi-valve medium | Cusco’s/Graves Speculum vaginal bi-valve medium |  | RR/SI | Expected: 1
ME C5.32 | Sims retractor/depressor | Sims retractor/depressor |  | RR/SI | Expected: 1
ME C5.33 | Sims Speculum vaginal double ended ISS Medium | Sims Speculum vaginal double ended ISS Medium |  | RR/SI | Expected: 1
ME C5.34 | uterine Sound Graduated | uterine Sound Graduated |  | RR/SI | Expected: 1
ME C5.35 | Cheatle’s Forcep | Cheatle’s Forcep |  | RR/SI | Expected: 1
ME C5.36 | Vaccine Carrier | Vaccine Carrier |  | RR/SI | Expected: 2
ME C5.37 | Ice pack box | Ice pack box |  | RR/SI | Expected: 8
ME C5.38 | Two Sponge holders | Two Sponge holders |  | RR/SI | Expected: 2
ME C5.39 | Plain Forceps | Plain Forceps |  | RR/SI | Expected: 5
ME C5.40 | tooth Forceps | tooth Forceps |  | RR/SI | Expected: 2
ME C5.41 | Needle Holder | Needle Holder |  | RR/SI | Expected: 2
ME C5.42 | IV canula green / grey | IV canula green / grey |  | RR/SI | Expected: 4
ME C5.43 | IV canula blue / pink | IV canula blue / pink |  | RR/SI | Expected: 8
ME C5.44 | IV Drip set and needle | IV Drip set and needle |  | RR/SI | Expected: 8
ME C5.45 | Mouth gag | Mouth gag |  | RR/SI | Expected: 2
ME C5.46 | Suture needle straight | Suture needle straight |  | RR/SI | Expected: 5
ME C5.47 | Suture needle curved | Suture needle curved |  | RR/SI | Expected: 5
ME C5.48 | kidney tray | kidney tray |  | RR/SI | Expected: 4 big and 4 small
ME C5.49 | Artery Forceps, straight, 160mm Stainless steel | Artery Forceps, straight, 160mm Stainless steel |  | RR/SI | Expected: 4
ME C5.50 | Cord cutting Scissors, blunt, curved on flat, 160 mm ss | Cord cutting Scissors, blunt, curved on flat, 160 mm ss |  | RR/SI | Expected: 1
ME C5.51 | Clinical thermometer oral | Clinical thermometer oral |  | RR/SI | Expected: 1
ME C5.52 | Clinical thermometer rectal | Clinical thermometer rectal |  | RR/SI | Expected: 1
ME C5.53 | talquist Hb scale | talquist Hb scale |  | RR/SI | Expected: 1
ME C5.54 | Stethoscope | Stethoscope |  | RR/SI | Expected: 1
ME C5.55 | Foetoscope | Foetoscope |  | RR/SI | Expected: 1
ME C5.56 | Hub Cutter | Hub Cutter |  | RR/SI | Expected: 1
ME C5.57 | Needle destroyer | Needle destroyer |  | RR/SI | Expected: 1
ME C5.58 | Ambu bag(Paediatric size) with baby mask and reservoir | Ambu bag(Paediatric size) with baby mask and reservoir |  | RR/SI | Expected: 1
ME C5.59 | Adult AMBU Bag | Adult AMBU Bag |  | RR/SI | Expected: 1
ME C5.60 | Pump suction , foot operated | Pump suction , foot operated |  | RR/SI | Expected: 1
ME C5.61 | Filled Oxygen Cylinder | Filled Oxygen Cylinder |  | RR/SI | Expected: 1
ME C5.62 | Oxygen mask | Oxygen mask |  | RR/SI | Expected: 1
ME C5.63 | Oxygen catheter | Oxygen catheter |  | RR/SI | Expected: 1
ME C5.64 | tracking bag and tickler box (Immunization) | tracking bag and tickler box (Immunization) |  | RR/SI | Expected: 1
ME C5.65 | Measuring tape | Measuring tape |  | RR/SI | Expected: 1
ME C5.66 | I/V Stand | I/V Stand |  | RR/SI | Expected: 1
Standard C4 | Facility provides drugs and consumables required for assured list of services.
ME C4.11 | 10 ml syringe | 10 ml syringe |  | RR/SI | Expected: 3
ME C4.12 | 5 ml syringe | 5 ml syringe |  | RR/SI | Expected: 3
ME C4.13 | 2 ml syringe | 2 ml syringe |  | RR/SI | Expected: 3
ME C4.14 | Auto disable immunization syringe | Auto disable immunization syringe |  | RR/SI
ME C4.15 | Insulin syringe 40IU | Insulin syringe 40IU |  | RR/SI
ME C4.16 | Disposable gloves | Disposable gloves |  | RR/SI | As per requirement
ME C4.17 | Sterile gloves | Sterile gloves |  | RR/SI
ME C4.18 | Mucus extractor | Mucus extractor |  | RR/SI
ME C4.19 | Disposable Cord clamp | Disposable Cord clamp |  | RR/SI | Expected: 30
ME C4.20 | Chromic catgut | Chromic catgut |  | RR/SI
ME C4.21 | Sterile thread for cord clamp | Sterile thread for cord clamp |  | RR/SI
ME C4.22 | Disposable Sterile urethral Catheter (rubber plain 12 fr) | Disposable Sterile urethral Catheter (rubber plain 12 fr) |  | RR/SI
ME C4.23 | Foley’s catheter (Adult) | Foley’s catheter (Adult) |  | RR/SI
ME C4.24 | Dry cell/battery | Dry cell/battery |  | RR/SI | Expected: 10
ME C4.25 | Dipsticks for urine test for protein and sugar | Dipsticks for urine test for protein and sugar |  | RR/SI | Expected: 1 container of 25 strips
ME C4.26 | Doppler for detectig FHS | Doppler for detectig FHS |  | RR/SI | 1
ME C4.27 | urine Pregnancy test kits | urine Pregnancy test kits |  | RR/SI | As per requirement
ME C4.28 | Disposable lancet (Pricking needles) | Disposable lancet (Pricking needles) |  | RR/SI | As per requirement
ME C4.29 | Disposable Sterile Swabs | Disposable Sterile Swabs |  | RR/SI | As per requirement
ME C4.30 | Glass Slide box of 25 slides | Glass Slide box of 25 slides |  | RR/SI | As per requirement
ME C4.31 | Routine Immunization Monitoring Chart | Routine Immunization Monitoring Chart |  | RR/SI | As per requirement
ME C4.32 | blank Immunization Cards/Joint MCH Card (one per pregnant mother) and tally Sheets (one per immunization session) | blank Immunization Cards/Joint MCH Card (one per pregnant mother) and tally Sheets (one per immunization session) |  | RR/SI | As per requirement
ME C4.33 | Rapid kit test for VDRL screening | Rapid kit test for VDRL screening |  | RR/SI
ME C4.34 | Reagents such as Hydrochloric acid, acetic acid, benedict’s solution, bleaching powder, Hypochlorite solution, Methylated spirit etc. | Reagents such as Hydrochloric acid, acetic acid, benedict’s solution, bleaching powder, Hypochlorite solution, Methylated spirit etc. |  | RR/SI | As per requirement
ME C4.35 | Partograph charts | Partograph charts |  | RR/SI | One case sheet per delivery
ME C4.36 | Cleaning material, detergent | Cleaning material, detergent |  | RR/SI | As per requirement
ME C4.37 | Handwash | Handwash |  | RR/SI
ME C4.38 | Speciman collection bottles | Speciman collection bottles |  | RR/SI | Expected: 10
ME C4.39 | Blood sample vial | Blood sample vial |  | RR/SI | Expected: 10
ME C4.40 | Intravenous drip set | Intravenous drip set |  | RR/SI | Expected: 10
ME C4.41 | 200 watt bulb | 200 watt bulb |  | RR/SI | Expected: 2
ME C4.42 | Black Disposal bags | Black Disposal bags |  | RR/SI | As per requirement
ME C4.43 | Red Disposal bags | Red Disposal bags |  | RR/SI | As per requirement
ME C4.44 | Yellow disposal bag | Yellow disposal bag |  | RR/SI | As per requirement
ME C4.45 | Puncture proof containner | Puncture proof containner |  | RR/SI
ME C4.46 | Red bin | Red bin |  | RR/SI
ME C4.47 | Yellow bin | Yellow bin |  | RR/SI
ME C4.48 | Black bin | Black bin |  | RR/SI
ME C4.49 | Salt - Iodine test kit | Salt - Iodine test kit |  | RR/SI | As per requirement
Standard C11 | Facility provides drugs
ME C11.1 | Essential drugs | Oral Rehydration Salts IP |  | RR/SI | Expected: 300 packets
|  | Iron & Folic Acid tablets (IFA) |  | RR/SI | Expected: 15000 tablets
|  | Folic Acid tablets IP |  | RR/SI | Expected: 1500 tablets
|  | Tab cotrimoxazole (Pediatric) |  | RR/SI | Expected: 1000 tablets
|  | Gentian violet crystals ( antifungal) |  | RR/SI | Expected: 250 g
|  | Zinc Sulphate Dispersible tablets uSP |  | RR/SI | Expected: 1050 tablets
|  | Iron & Folic Acid Syrup (as per standards provided) |  | RR/SI | Expected: 400 bottles
|  | Water – Miscible Vitamin Concentrate IP (Vitamin A Syrup) |  | RR/SI | Expected: 12 bottles
|  | Methylergometrine tablets |  | RR/SI | Expected: 240 tablets
|  | Paracetamol tablets |  | RR/SI | Expected: 1000 tablets
|  | Methylergometrine injection |  | RR/SI | Expected: 10 ampoules
|  | Albendazole tablets |  | RR/SI | Expected: 200 tablets
|  | Dicyclomine tablets |  | RR/SI | Expected: 180 tablets
|  | Chloramphenicol eye ointment |  | RR/SI | Expected: 500 applicaps
|  | Povidone Iodine |  | RR/SI | Expected: 10 tubes
|  | Cotton Bandage |  | RR/SI | Expected: 120 rolls
|  | Absorbent Cotton |  | RR/SI | Expected: 10 rolls
ME C11.2 | Emergency obstetric drugs | Inj Magnesium Sulphate |  | RR/SI | Minimum of 20 vials
|  | Methyl dopa |  | RR/SI
|  | Tab Labetalol |  | RR/SI
|  | Inj Labetalol |  | RR/SI
|  | Inj Oxytocin |  | RR/SI
|  | Cap Ampicillin |  | RR/SI
|  | Tab Metronidazole |  | RR/SI
|  | Tab Misoprostol 200 mg |  | RR/SI
|  | Dexamethasone / Betamethasone |  | RR/SI
ME C11.3 | Emergency drug | Ringer lactate |  | RR/SI
|  | Normal Saline |  | RR/SI
ME C11.4 | Others | Gauze piece |  | RR/SI | Expected: 20 per delivery
|  | Sterile pad |  | RR/SI | Expected: 2 per delivery
|  | Inj Gentamycin |  | RR/SI
|  | Tab Nifedipine |  | RR/SI
|  | Syrup Nevirapine |  | RR/SI
|  | Lignocaine |  | RR/SI
|  | Inj Vitamin K |  | RR/SI
|  | Tab Ibuprufen |  | RR/SI
|  | Tab Amlodipine |  | RR/SI
|  | Dextrose 25 / Dextrose and Normal Saline |  | RR/SI
|  | Inj Hydralazine |  | RR/SI
|  | Inj Calcium gluconate |  | RR/SI
|  | Inj Adrenaline |  | RR/SI
|  | Adhesive tape |  | RR/SI
|  | Clove oil for toothache |  | RR/SI
|  | Gum paints for mouth wash |  | RR/SI
|  | HIV testing kit |  | RR/SI
|  | HIV medicine (TLE) |  | RR/SI
ME C11.5 | Vaccine | BCG |  | RR/SI
|  | DPT |  | RR/SI
|  | OPV |  | RR/SI
|  | Measles |  | RR/SI
|  | TT |  | RR/SI
|  | Hepatitis B |  | RR/SI
|  | JE |  | RR/SI
ME C11.6 | Essential drug | Syrup Cotrimoxazole |  | RR/SI
|  | Tab Cotrimoxazole |  | RR/SI
|  | Syrup Paracetamol |  | RR/SI
|  | Savlon solution (Antiseptic) |  | RR/SI
ME C11.7 | Medicines for National Disease Control Program | Tab Chloroquine |  | RR/SI
|  | Syrup Chloroquine |  | RR/SI
|  | Artesunate combination therapy blister pack |  | RR/SI
|  | Tab Primaquine |  | RR/SI
|  | Tab Di Ethyl Carbamazine - Filaria - For filaria endemic areas |  | RR/SI
|  | Antileprosy drugs (MDT Blister Packs) |  | RR/SI
|  | Rapid diagnostic kit Malaria |  | RR/SI
|  | ATT Drugs |  | RR/SI
ME C11.8 | Contraceptive supplies | Condoms |  | RR/SI
|  | Oral Pills |  | RR/SI
|  | Copper T |  | RR/SI
|  | Emergency contraceptive pills |  | RR/SI
Standard C12 | Furniture Availability
ME C12.1 | Examination table | Examination table |  | RR/SI | Expected: 1 Examination table
ME C12.2 | Writing table | Writing table |  | RR/SI | Expected: 1 writing table
ME C12.3 | Chairs | Chairs |  | RR/SI | Expected: 3 chairs
ME C12.4 | Medicine cupboard | Medicine cupboard |  | RR/SI | Expected: 1 medicine cupboard
ME C12.5 | Labour table | Labour table |  | RR/SI | Expected: 1 Labour table
ME C12.6 | Mattress for labour table | Mattress for labour table |  | RR/SI | Expected: 2 matresses per labour table
ME C12.7 | Pillow | Pillow |  | RR/SI | Expected: 2 pillows per table
ME C12.8 | Mcintosh sheet | Mcintosh sheet |  | RR/SI | Expected: 4 sheets per table
ME C12.9 | Kelly's pad | Kelly's pad |  | RR/SI | Expected: 2 kellys pad per labor table
ME C12.10 | Beds with mattress | Beds with mattress |  | RR/SI | 4 beds with one mattress for each bed . Only for centres where deliveries are taking place .
ME C12.11 | Bedsheet | Bedsheet |  | RR/SI | Expected: 2 bedsheets per bed
ME C12.12 | Mop | Mop |  | RR/SI | Expected: 1
ME C12.13 | Wooden screen / Curtain | Wooden screen / Curtain |  | RR/SI | Expected: 1 screen
ME C12.14 | Foot step | Foot step |  | RR/SI | Expected: 1 foot step
ME C12.15 | Clock | Clock |  | RR/SI | Expected: 1 coat rack
ME C12.16 | Coat rack to hang clothes | Coat rack to hang clothes |  | RR/SI | Expected: 1
ME C12.17 | bed side table | bed side table |  | RR/SI | Expected: 1
ME C12.18 | Stool | Stool |  | RR/SI | Expected: 3
ME C12.19 | Almirahs | Almirahs |  | RR/SI | Expected: 1
ME C12.20 | Focus Lamp in labour room | Focus Lamp in labour room |  | RR/SI | Expected: 1
ME C12.21 | Fans | Fans |  | RR/SI | Expected: 4
ME C12.22 | tube lights | tube lights |  | RR/SI | Expected: 4
ME C12.23 | basin stand | basin stand |  | RR/SI | Expected: 1
ME C12.24 | Buckets | Buckets |  | RR/SI | Expected: 2
ME C12.25 | Mugs | Mugs |  | RR/SI | Expected: 2
ME C12.26 | Kerosene stove | Kerosene stove |  | RR/SI | Expected: 1
ME C12.27 | Sauce pan with lid | Sauce pan with lid |  | RR/SI | Expected: 1
ME C12.28 | Hot water bag | Hot water bag |  | RR/SI | Expected: 1
ME C12.29 | Drum with tap for storing water | Drum with tap for storing water |  | RR/SI | Expected: 1
ME C12.30 | Waste disposal twin bucket for hypochlorite solution | Waste disposal twin bucket for hypochlorite solution |  | RR/SI | Expected: 1
ME C12.31 | Generator facility | Generator facility |  | RR/SI | Expected: 1
ME C12.32 | Computer | Computer |  | RR/SI | Expected: 1
ME C12.33 | Refrigerator | Refrigerator |  | RR/SI | Expected: 1
ME C12.34 | Room cooler | Room cooler |  | RR/SI | Expected: 1 in labour room
ME C12.35 | Room heater | Room heater |  | RR/SI | Expected: 1 in labour room
Standard C13 | ANM has been trained in
ME C13.1 | Trained in SBA | Trained in SBA |  | RR/SI
ME C13.2 | Trained in PPIUCD | Trained in PPIUCD |  | RR/SI
ME C13.3 | Trained in Skilled lab | Trained in Skilled lab |  | RR/SI
ME C13.4 | Trained in Dakshata | Trained in Dakshata |  | RR/SI
ME C13.5 | Trained in Basic life support | Trained in Basic life support |  | RR/SI
ME C13.6 | Immunization training | Immunization training |  | RR/SI
ME C13.7 | NSSK | NSSK |  | RR/SI
Standard C3 | The facility has adequate qualified and trained staff, required for providing the assured services to the current case load
ME C3.11 | Two Health Worker (Female) ANM | Two Health Worker (Female) ANM |  | RR/SI
ME C3.12 | Health Worker (Male) | Health Worker (Male) |  | RR/SI
ME C3.14 | Contractual Safai Karmachari to keep the Sub-centre clean and assisting ANM. | Contractual Safai Karmachari to keep the Sub-centre clean and assisting ANM. |  | RR/SI
Standard C1 | The facility has infrastructure for delivery of assured services, and available infrastructure meets the prevalent norms
ME C1.11 | Subcentre located near a main habitation | Subcentre located near a main habitation |  | RR/SI
ME C1.12 | Located within a village locality | Located within a village locality |  | RR/SI
ME C1.13 | Functioning in a government building | Functioning in a government building |  | RR/SI
ME C1.14 | Is the building under construction ? | Is the building under construction ? |  | RR/SI
ME C1.15 | Is there a ramp for use of trolley / wheelchairs | Is there a ramp for use of trolley / wheelchairs |  | RR/SI
ME C1.16 | Whether the area is clean | Whether the area is clean |  | RR/SI | Are any of the following close to the Sub-Centre? Garbage dump, Cattle shed, Stagnant pool and Pollution from industry
ME C1.17 | Is boundary wall with gate existing | Is boundary wall with gate existing |  | RR/SI
ME C1.18 | Prominent display boards in local language | Prominent display boards in local language |  | RR/SI
ME C1.19 | Separate public utilities for males and females | Separate public utilities for males and females |  | RR/SI
ME C1.20 | Suggestion/complaint box | Suggestion/complaint box |  | RR/SI
ME C1.21 | Labour room available? | Labour room available? |  | RR/SI
ME C1.22 | Clinic and Examination Room exists | Clinic and Examination Room exists |  | RR/SI
ME C1.23 | Availability of washbasin | Availability of washbasin |  | RR/SI | One each in Labour room - Ward , Clinic room and Toilet
ME C1.24 | Availability of Elbow taps in each wash basin | Availability of Elbow taps in each wash basin |  | RR/SI
ME C1.25 | Whether overhead tank and pump exist | Whether overhead tank and pump exist |  | RR/SI
ME C1.26 | If overhead tank exist, whether its capacity sufficient? | If overhead tank exist, whether its capacity sufficient? |  | RR/SI
ME C1.27 | If pump exist, whether it is in working condition? | If pump exist, whether it is in working condition? |  | RR/SI
ME C1.28 | Regular electric supply available | Regular electric supply available |  | RR/SI
ME C1.29 | Backup Invertor / Solar facility available | Backup Invertor / Solar facility available |  | RR/SI
ME C1.30 | Communication facilities telephone | Communication facilities telephone |  | RR/SI
ME C1.31 | Transport facility for movement of staff | Transport facility for movement of staff |  | RR/SI | Scooter / Bike / Bicycle
ME C1.32 | Functional toilet for patients | Functional toilet for patients |  | RR/SI
ME C1.33 | Functional toilet for facility staff | Functional toilet for facility staff |  | RR/SI
ME C1.34 | Is segregation of biomedical waste in different bins carried out ? | Is segregation of biomedical waste in different bins carried out ? |  | RR/SI | Collected by agency or buried in a pit
ME C1.35 | Is biodegradable domestic waste buried in a pit ? | Is biodegradable domestic waste buried in a pit ? |  | RR/SI
ME C1.36 | Is non biodegradable domestic waste burnt ? | Is non biodegradable domestic waste burnt ? |  | RR/SI
ME C1.37 | Is human tissue waste (yellow bin) burnt ? | Is human tissue waste (yellow bin) burnt ? |  | RR/SI
ME C1.38 | Is human tissue waste (yellow bin) buried in a pit ? | Is human tissue waste (yellow bin) buried in a pit ? |  | RR/SI
ME C1.39 | Are instruments decontaminated in 0.5% chlorine solution for 10 minutes ? | Are instruments decontaminated in 0.5% chlorine solution for 10 minutes ? |  | RR/SI
ME C1.40 | Are blood stained plastic equipments decontaminated before disposal ? | Are blood stained plastic equipments decontaminated before disposal ? |  | RR/SI
ME C1.41 | Are blood stained plastic equipments burnt ? | Are blood stained plastic equipments burnt ? |  | RR/SI
ME C1.42 | Are non blood stained plastic equipments sold to local kabadiwala ? | Are non blood stained plastic equipments sold to local kabadiwala ? |  | RR/SI
ME C1.43 | Are sharps buried in a deep sharp pit ? | Are sharps buried in a deep sharp pit ? |  | RR/SI
ME C1.44 | Is residential facility available for both ANM/s ? | Is residential facility available for both ANM/s ? |  | RR/SI
ME C1.45 | Is the ANM/s staying at the subcentre ? | Is the ANM/s staying at the subcentre ? |  | RR/SI
ME C1.46 | Is residential facility available for male health worker ? | Is residential facility available for male health worker ? |  | RR/SI
ME C1.47 | Is male health worker stayig at the subcentre ? | Is male health worker stayig at the subcentre ? |  | RR/SI
ME C1.48 | Does the health centre have a piped water supply ? | Does the health centre have a piped water supply ? |  | RR/SI
ME C1.49 | Is a borewell functioning in or nearby the health centre ? | Is a borewell functioning in or nearby the health centre ? |  | RR/SI
ME C1.50 | Is a handpump functioning in or nearby the health centre ? | Is a handpump functioning in or nearby the health centre ? |  | RR/SI
ME C1.51 | Is a tube well functioning in or nearby the health centre ? | Is a tube well functioning in or nearby the health centre ? |  | RR/SI
ME C1.52 | Is a well functioning in or nearby the health centre ? | Is a well functioning in or nearby the health centre ? |  | RR/SI
ME C1.53 | Is there a garbage dump area near the facility ? | Is there a garbage dump area near the facility ? |  | RR/SI
ME C1.54 | Is there a stagnant pool of water near the facility? | Is there a stagnant pool of water near the facility? |  | RR/SI
ME C1.55 | Is there industrial pollution near the facility ? | Is there industrial pollution near the facility ? |  | RR/SI
Area of Concern - E Records and Registers
Standard E8 | Facility has defined and established procedures for maintaining, updating of patients’ clinical records and their storage
ME E8.11 | Eligible couple register | Eligible couple register |  | RR/SI
ME E8.12 | Delivery register | Delivery register |  | RR/SI
ME E8.13 | Under five Immunization | Under five Immunization |  | RR/SI
ME E8.14 | Growth monitoring | Growth monitoring |  | RR/SI
ME E8.15 | Above 5 immunization | Above 5 immunization |  | RR/SI
ME E8.16 | HIV/STI Screening | HIV/STI Screening |  | RR/SI
ME E8.17 | Birth and death register | Birth and death register |  | RR/SI
ME E8.18 | Drug register | Drug register |  | RR/SI
ME E8.19 | Equipment , furniture and other accessories register | Equipment , furniture and other accessories register |  | RR/SI
ME E8.20 | Communicable diseases / Epidemic register | Communicable diseases / Epidemic register |  | RR/SI
ME E8.21 | JSY Register | JSY Register |  | RR/SI
ME E8.22 | Accounts for untied funds register | Accounts for untied funds register |  | RR/SI
ME E8.23 | Water quality and sanitation register | Water quality and sanitation register |  | RR/SI
ME E8.24 | OPD register | OPD register |  | RR/SI
ME E8.25 | Is Maternal case sheet available ? | Is Maternal case sheet available ? |  | RR/SI
ME E8.26 | Is Maternal case sheet filled properly ? | Is Maternal case sheet filled properly ? |  | RR/SI
ME E8.27 | Is Referal slip available at the facility ? | Is Referal slip available at the facility ? |  | RR/SI
ME E8.28 | Is Referal slip properly filled before referral ? | Is Referal slip properly filled before referral ? |  | RR/SI
Area of Concern - G Quality Management
Standard G1 | The facility has established organizational framework for quality improvement
ME G1.11 | Citizen’s charter in local language (Yes/No) | Citizen’s charter in local language (Yes/No) |  | RR/SI
ME G1.12 | Internal monitoring: supportive supervision and record checking at periodic intervals by the male and female Health Assistants from PHC (at least once a week) and by MO (at least once in a month) | Internal monitoring: supportive supervision and record checking at periodic intervals by the male and female Health Assistants from PHC (at least once a week) and by MO (at least once in a month) |  | RR/SI
ME G1.13 | External monitoring: Village Health Sanitation and Nutrition Committee, evaluation by independent external agency | External monitoring: Village Health Sanitation and Nutrition Committee, evaluation by independent external agency |  | RR/SI
ME G1.14 | Availability of various guidelines issued by GOI or State Govt. (Specify) | Availability of various guidelines issued by GOI or State Govt. (Specify) |  | RR/SI
Area of Concern - A Service Provision
Standard A4 | Facility provides services as mandated in national Health Programs/ state scheme
ME A4.11 | Are more than three deliveries conducted per month? | Are more than three deliveries conducted per month? |  | RR/SI
ME A4.12 | Visit by Doctor once a month | Visit by Doctor once a month |  | RR/SI
ME A4.13 | Date of visit fixed? | Date of visit fixed? |  | RR/SI
ME A4.14 | Residents of village aware of the date of visit? | Residents of village aware of the date of visit? |  | RR/SI
ME A4.15 | Inj TT given in subcentre to all ANC women? | Inj TT given in subcentre to all ANC women? |  | RR/SI
ME A4.16 | IFA tablets given to ANC women ? | IFA tablets given to ANC women ? |  | RR/SI
ME A4.17 | Checking weight of women in ANC care ? | Checking weight of women in ANC care ? |  | RR/SI
ME A4.18 | Checking BP of ANC women | Checking BP of ANC women |  | RR/SI
ME A4.19 | Referal facility available at the centre 24h | Referal facility available at the centre 24h |  | RR/SI
ME A4.20 | ANM/ASHA accompany the women in labour to the referral centre ? | ANM/ASHA accompany the women in labour to the referral centre ? |  | RR/SI
ME A4.21 | Immunization provided by Subcentre ? | Immunization provided by Subcentre ? |  | RR/SI
ME A4.22 | Treatment of diarrhoea and dehydration available ? | Treatment of diarrhoea and dehydration available ? |  | RR/SI
ME A4.23 | Treatment of minor illness like fever , cough , cold , etc ? | Treatment of minor illness like fever , cough , cold , etc ? |  | RR/SI
ME A4.24 | Facility for taking peripheral blood smear in case of fever ? | Facility for taking peripheral blood smear in case of fever ? |  | RR/SI
ME A4.25 | Insertion of CuT , distributing oral contraceptive pills , condoms ? | Insertion of CuT , distributing oral contraceptive pills , condoms ? |  | RR/SI