## Blood Storage Unit
. | Area of Concern - C Inputs
Standard C1. | The facility has infrastructure for delivery of assured services, and available infrastructure meets the prevalent norms
ME C1.1. | Departments have adequate space as per patient or work load | Blood storage has adequate space as per requirement | 1 | OB | Space required is more than 10sq meters
ME C1.3. | Departments have layout and demarcated areas as per functions | Dedicated area for Whole blood and components | 1 | OB
. |  | Dedicated space for keeping records | 1 | OB
ME C1.5. | The facility has infrastructure for intramural and extramural communication | Availability of functional Intercom and telephone services | 1 | OB
Standard C2. | The facility ensures the physical safety including Fire safety of the infrastructure.
ME C2.1 | The facility ensures the seismic safety of the infrastructure | Non structural components are properly secured | 1 | OB | Check for fixtures and furniture like cupboards, cabinets, and heavy equipment ,hanging objects are properly fastened and secured
ME C2.2 | The facility ensures safety of electrical establishment | Blood storage does not have temporary connection and loosely hanging wires | 1 | OB
. |  | Adequate electrical socket provided for safe and smooth operations of testing equipment | 1 | OB/RR
ME C2.4 | Physical condition of buildings are safe for providing patient care | Work benches are chemical resistant | 1 | OB
|  | Blood storage has plan for safe storage and handling of potentially flammable materials. | 1 | OB
ME C2.5. | The facility has adequate fire fighting Equipment | At least one Fire Extinguisher ABC Type is available in vicinity of blood storage. | 1 | OB/RR
. |  | Check the expiry date for fire extinguisher is displayed on each extinguisher as well as due date for next refilling is clearly mentioned | 1 | OB/RR
ME C2.6 | The facility has a system of periodic training of staff and conducts mock drills regularly for fire and other disaster situation | Check for staff competencies for operating fire extinguisher and what to do in case of fire | 1 | SI/RR
Standard C3. | The facility has adequate qualified and trained staff, required for providing the assured services to the current case load
ME C3.1. | The facility has adequate specialists doctors as per service provision | Availability of designated Blood storage officer. | 1 | OB/RR | MBBS doctor with 3 days recognized training on blood storage
ME C3.4. | The facility has adequate technicians/paramedics as per requirement | Availability of Trained Technician for Blood storage | 1 | SI/RR | DMLT with one day recognized training on blood storage.
ME C3.6. | The staff has been provided required training / skill sets | IMEP training. | 1 | SI/RR
|  | Blood storage management | 1
ME C3.7 | The Staff is skilled as per job description | Staff is skilled in operating the equipment | 1 | SI/RR
Standard C4. | Facility provides drugs and consumables required for assured list of services.
ME C4.1. | The departments have availability of adequate drugs at point of use | Availability of Laboratory materials | 1 | OB/RR | Pauster pipette, glass tubes, gloves, tooth picks Glass slides, Glass marker/paper stickers
ME C4.2. | The departments have adequate consumables at point of use | Availability of Reagents /Kits and other consumables for testing. | 1 | OB/RR | Standard Grouping Sera Anti A, Anti B & Anti D, Antihuman Globulin.
Standard C5. | The facility has equipment & instruments required for assured list of services.
ME C5.3. | Availability of equipment & instruments for diagnostic procedures being undertaken in the facility | Availability of laboratory equipment & instruments for laboratory | 1 | OB | Microscope, RH viewer.
ME C5.5. | Availability of Equipment for Storage | Check for availability of storage equipment for blood products | 1 | OB | Blood bags refrigerator with thermo graph and alarm device, Insulated carrier boxes with ice packs, Blood bag weighting machine, deep freezer,