## Labour Room
National Quality Assurance Standards
Checklist for Labour Room
Reference No | Measurable Element | Checkpoint | Compliance | Assessment Method | Means of Verification | Remarks
| Area of Concern - A Service Provision | [5 empty] | 15 | 30
Standard A1 | The facility provides Curative Services | [5 empty] | 2 | 4
ME A1.1 | The facility provides General Medicine services
ME A1.2 | The facility provides General Surgery services
ME A1.3 | The facility provides Obstetrics & Gynaecology Services | Availability of comprehensive obstetric services | 1 | SI/OB
ME A1.4 | The facility provides Paediatric Services
ME A1.5 | The facility provides Ophthalmology Services
ME A1.6 | The facility provides ENT Services
ME A1.7 | The facility provides Orthopaedics Services
ME A1.8 | The facility provides Skin & VD Services
ME A1.9 | The facility provides Psychiatry Services
ME A1.10 | The facility provides Dental Treatment Services
ME A1.11 | The facility provides AYUSH Services
ME A1.12 | The facility provides Physiotherapy Services
ME A1.13 | The facility provides services for OPD procedures
ME A1.14 | Services are available for the time period as mandated | Labour room service are functional 24X7 | 1 | SI/RR
ME A1.15 | The facility provides services for Super specialties, as mandated
ME A1.16 | The facility provides Accident & Emergency Services
ME A1.17 | The facility provides Intensive care Services
ME A1.18 | The facility provides Blood bank & transfusion services
Standard A2 | The facility provides RMNCHA Services | [5 empty] | 11 | 22
ME A2.1 | The facility provides Reproductive health Services | Availability of Post partum sterilization services | 1 | SI/OB | PPIUD insertion
ME A2.2 | The facility provides Maternal health Services | Vaginal Delivery | 1 | SI/OB | Term, post Date and pre term
|  | Assisted Delivery | 1 | SI/OB | Forceps delivery and vacuum delivery
|  | Management of Postpartum Haemorrhage | 1 | SI/OB | Medical /Surgical
|  | Management of Retained Placenta | 1 | SI/OB
|  | Septic Delivery | 1 | SI/OB
|  | Delivery of HIV positive PW | 1 | SI/OB
|  | Management of PIH/Eclampsia/ Pre eclampsia | 1 | SI/OB
|  | Initial Diagnosis and management of MTP and Ectopics | 1 | SI/OB
ME A2.3 | The facility provides Newborn health Services | Availability of New born resuscitation | 1 | SI/OB
|  | Availability of Essential new born care | 1 | SI/OB
ME A2.4 | The facility provides Child health Services
ME A2.5 | The facility provides Adolescent health Services
Standard A3 | The facility Provides diagnostic Services | [5 empty] | 2 | 4
ME A3.1 | The facility provides Radiology Services | Availability of dedicated services for USG | 1 | SI/OB
ME A3.2 | The facility Provides Laboratory Services | Availability of point of care diagnostic test | 1 | SI/OB | HIV, Hb% , Random blood sugar /as per state guideline
ME A3.3 | The facility provides other diagnostic services, as mandated
Standard A4 | The facility provides services as mandated in national Health Programmes/ state scheme
ME A4.1 | The facility provides services under National Vector Borne Disease Control Programme as per guidelines
ME A4.2 | The facility provides services under Revised National TB Control Programme as per guidelines
ME A4.3 | The facility provides services under National Leprosy Eradication Programme as per guidelines
ME A4.4 | The facility provides services under National AIDS Control Programme as per guidelines
ME A4.5 | The facility provides services under National Programme for prevention and control of Blindness as per guidelines
ME A4.6 | The facility provides services under Mental Health Programme as per guidelines
ME A4.7 | The facility provides services under National Programme for the health care of the elderly as per guidelines
ME A4.8 | The facility provides services under National Programme for Prevention and control of Cancer, Diabetes, Cardiovascular diseases & Stroke (NPCDCS) as per guidelines
ME A4.9 | The facility Provides services under Integrated Disease Surveillance Programme as per Guidelines
ME A4.10 | The facility provide services under National health Programme for deafness
ME A4.11 | The facility provides services as per State specific health programmes
Standard A5 | The facility provides support services
ME A5.1 | The facility provides dietary services
ME A5.2 | The facility provides laundry services
ME A5.3 | The facility provides security services
ME A5.4 | The facility provides housekeeping services
ME A5.5 | The facility ensures maintenance services
ME A5.6 | The facility provides pharmacy services
ME A5.7 | The facility has services of medical record department
Standard A6 | Health services provided at the facility are appropriate to community needs.
ME A6.1 | The facility provides curatives & preventive services for the health problems and diseases, prevalent locally.
ME A6.2 | There is process for consulting community/ or their representatives when planning or revising scope of services of the facility
| Area of Concern - B Patient Rights | [5 empty] | 28 | 56
Standard B1 | The facility provides the information to care seekers, attendants & community about the available services and their modalities | [5 empty] | 11 | 22
ME B1.1 | The facility has uniform and user-friendly signage system | Availability departmental signage's | 1 | OB | (Numbering, main department and internal sectional signage
|  | Directional signage for department is displayed | 1 | OB | Direction is displayed from main gate to direct.
|  | Restricted area signage displayed | 1 | OB
ME B1.2 | The facility displays the services and entitlements available in its departments | Entitlements under JSSK Displayed | 1 | OB
|  | Entitlement under JSY displayed | 1 | OB
|  | Name of doctor and Nurse on duty are displayed and updated | 1 | OB
|  | Contact details of referral transport / ambulance displayed | 1 | OB
|  | Services provision of labour room are displayed at the entrance | 1 | OB
ME B1.3 | The facility has established citizen charter, which is followed at all levels
ME B1.4 | User charges are displayed and communicated to patients effectively
ME B1.5 | Patients & visitors are sensitised and educated through appropriate IEC / BCC approaches | IEC Material is displayed | 1 | OB | Breast feeding, kangaroo care, family planning etc (Pictorial and chart ) in circulation area
ME B1.6 | Information is available in local language and easy to understand | Signage's and information are available in local language | 1 | OB
ME B1.7 | The facility provides information to patients and visitor through an exclusive set-up. | Availability of Enquiry Desk with dedicated staff | 1 | OB | Enquiry desk serving both maternity ward and labour
ME B1.8 | The facility ensures access to clinical records of patients to entitled personnel
Standard B2 | Services are delivered in a manner that is sensitive to gender, religious and cultural needs, and there are no barrier on account of physical economic, cultural or social reasons. | [5 empty] | 5 | 10
ME B2.1 | Services are provided in manner that are sensitive to gender | Only on duty staff is allowed in the labour room when it is occupied | 1 | OB
|  | Availability of female staff if a male doctor examine a female patients | 1 | OB/SI
ME B2.2 | Religious and cultural preferences of patients and attendants are taken into consideration while delivering services
ME B2.3 | Access to facility is provided without any physical barrier & and friendly to people with disabilities | Availability of Wheel chair or stretcher for easy Access to the labour room | 1 | OB
|  | Availability of ramps and railing | 1 | OB
|  | Labour room is located at ground floor | 1 | OB | If not located on the ground floor availability of the ramp / lift with person for shifting
ME B2.4 | There is no discrimination on basis of social and economic status of the patients
ME B2.5 | There is affirmative actions to ensure that vulnerable sections can access services
Standard B3 | The facility maintains privacy, confidentiality & dignity of patient, and has a system for guarding patient related information. | [5 empty] | 5 | 10
ME B3.1 | Adequate visual privacy is provided at every point of care | Availability of screen/ partition at delivery tables | 1 | OB
|  | Curtains / frosted glass have been provided at windows | 1 | OB
ME B3.2 | Confidentiality of patients records and clinical information is maintained | Patient Records are kept at secure place beyond access to general staff/visitors | 1 | SI/OB
ME B3.3 | The facility ensures the behaviours of staff is dignified and respectful, while delivering the services | Behaviour of staff is empathetic and curteous | 1 | OB/PI
ME B3.4 | The facility ensures privacy and confidentiality to every patient, especially of those conditions having social stigma, and also safeguards vulnerable groups | HIV status of patient is not disclosed except to staff that is directly involved in care | 1 | SI/OB
Standard B4 | The facility has defined and established procedures for informing patients about the medical condition, and involving them in treatment planning, and facilitates informed decision making | [5 empty] | 3 | 6
ME B4.1 | There is established procedures for taking informed consent before treatment and procedures | General consent is taken before delivery | 1 | SI/RR
ME B4.2 | Patient is informed about his/her rights and responsibilities
ME B4.3 | Staff are aware of Patients rights responsibilities
ME B4.4 | Information about the treatment is shared with patients or attendants, regularly | Labour room has system in place to involve patient relative in decision making about pregnant women treatment | 1 | PI
ME B4.5 | The facility has defined and established grievance redressal system in place | Availability of complaint box and display of process for grievance re redressal and whom to contact is displayed | 1 | OB
Standard B5 | The facility ensures that there are no financial barrier to access, and that there is financial protection given from the cost of hospital services. | [5 empty] | 4 | 8
ME B5.1 | The facility provides cashless services to pregnant women, mothers and neonates as per prevalent government schemes | Drugs and consumables under JSSK are available free of cost | 1 | PI/SI
ME B5.2 | The facility ensures that drugs prescribed are available at Pharmacy and wards | Check that patient party has not spent on purchasing drugs or consumables from outside. | 1 | PI/SI
ME B5.3 | It is ensured that facilities for the prescribed investigations are available at the facility | Check that patient party has not spent on diagnostics from outside. | 1 | PI/SI
ME B5.4 | The facility provide free of cost treatment to Below poverty line patients without administrative hassles
ME B5.5 | The facility ensures timely reimbursement of financial entitlements and reimbursement to the patients | If any other expenditure occurred it is reimbursed from hospital | 1 | PI/SI/RR
ME B5.6 | The facility ensure implementation of health insurance schemes as per National /state scheme
| Area of Concern - C Inputs | [5 empty] | 75 | 150
Standard C1 | The facility has infrastructure for delivery of assured services, and available infrastructure meets the prevalent norms | [5 empty] | 24 | 48
ME C1.1 | Departments have adequate space as per patient or work load | Adequate space as per delivery load | 1 | OB | One labour table requires 10X10 sqft of space, Every labour table should have space for vertical trolley with space for six trays
|  | Availability of Waiting area for attendants/ASHA | 1 | OB
ME C1.2 | Patient amenities are provide as per patient load | Attached toilet and bathroom facility available | 1 | OB
|  | Availability of Hot water facility | 1 | OB
|  | Availability of Drinking water | 1 | OB
|  | Availability of Changing area | 1 | OB
ME C1.3 | Departments have layout and demarcated areas as per functions | Delivery unit has dedicated Receiving area | 1 | OB
|  | Availability of Examination Room | 1 | OB
|  | Availability of Pre delivery room | 1 | OB
|  | Availability of Delivery room | 1 | OB
|  | Availability of Post delivery observation room | 1 | OB
|  | Dedicated nursing station within or proximity labour room | 1 | OB
|  | Area earmarked for newborn care Corner | 1 | OB
|  | Dedicated Eclampsia room available | 1 | OB
|  | Dedicated Septic Labour Room with NBCC | 1 | OB
|  | Preparation of medicine and injection area | 1 | OB
|  | Availability of dirty utility room | 1 | OB
|  | Availability of store | 1 | OB
ME C1.4 | The facility has adequate circulation area and open spaces according to need and local law | Corridors connecting labour room are broad enough to manage stretcher and trolleys | 1 | OB
ME C1.5 | The facility has infrastructure for intramural and extramural communication | Availability of functional telephone and Intercom Services | 1 | OB
ME C1.6 | Service counters are available as per patient load | Availability of labour tables as per delivery load | 1 | OB | At least 2 labour table for 100 deliveries per month (Minimum 4)
ME C1.7 | The facility and departments are planned to ensure structure follows the function/processes (Structure commensurate with the function of the hospital) | Labour room is in Proximity and function linkage with OT | 1 | OB
|  | Labour room is in proximity a proximity and functional linkage with SNCU | 1 | OB
|  | Unidirectional flow of care | 1 | OB
Standard C2 | The facility ensures the physical safety of the infrastructure. | [5 empty] | 5 | 10
ME C2.1 | The facility ensures the seismic safety of the infrastructure | Non structural components are properly secured | 1 | OB | Check for fixtures and furniture like cupboards, cabinets, and heavy equipments , hanging objects are properly fastened and secured
ME C2.2 | The facility ensures safety of lifts and lifts have required certificate from the designated bodies/ board
ME C2.3 | The facility ensures safety of electrical establishment | Labour room does not have temporary connections and loosely hanging wires | 1 | OB | Switch Boards other electrical installations are intact
|  | Stabilizer is provided for Radiant warmer | 1 | OB
ME C2.4 | Physical condition of buildings are safe for providing patient care | Floors of the labour room are non slippery and even | 1 | OB
|  | Windows have grills and wire meshwork | 1 | OB
Standard C3 | The facility has established Programme for fire safety and other disaster | [5 empty] | 5 | 10
ME C3.1 | The facility has plan for prevention of fire | Labour room has sufficient fire exit to permit safe escape to its occupant at time of fire | 1 | OB/SI
|  | Check the fire exits are clearly visible and routes to reach exit are clearly marked. | 1 | OB
ME C3.2 | The facility has adequate fire fighting Equipment | Labour room has installed fire Extinguisher that is Class A , Class B, C type or ABC type | 1 | OB
|  | Check the expiry date for fire extinguishers are displayed on each extinguisher as well as due date for next refilling is clearly mentioned | 1 | OB/RR
ME C3.3 | The facility has a system of periodic training of staff and conducts mock drills regularly for fire and other disaster situation | Check for staff competencies for operating fire extinguisher and what to do in case of fire | 1 | SI/RR
Standard C4 | The facility has adequate qualified and trained staff, required for providing the assured services to the current case load | [5 empty] | 15 | 30
ME C4.1 | The facility has adequate specialist doctors as per service provision | Availability of Ob&G specialist on duty and on call paediatrician | 1 | OB/RR
ME C4.2 | The facility has adequate general duty doctors as per service provision and work load | Availability of General duty doctor at all time at labour room | 1 | OB/RR | At least One per shift
ME C4.3 | The facility has adequate nursing staff as per service provision and work load | Availability of Nursing staff /ANM | 1 | OB/RR/SI | At least Three per shift
ME C4.4 | The facility has adequate technicians/paramedics as per requirement
ME C4.5 | The facility has adequate support / general staff | Availability of labour room attendants/ Birth Companion | 1 | SI/RR | At least 1 sanitary worker and 1 ayah per shift
|  | Availability of dedicated female security staff | 1 | SI/RR
ME C4.6 | The staff has been provided required training / skill sets | Navjat Shishu Surkasha Karyakarm (NSSK) training | 1 | SI/RR
|  | Skilled birth Attendant (SBA) | 1 | SI/RR
|  | Biomedical Waste Management | 1 | SI/RR
|  | Infection control and hand hygiene | 1 | SI/RR
|  | Patient safety | 1 | SI/RR
ME C4.7 | The Staff is skilled as per job description | Nursing staff is skilled for operating radiant warmer | 1 | SI/RR
|  | Nursing staff is skilled for resuscitation | 1 | SI/RR | Newborn as well as Mother
|  | Nursing staff is skilled identifying and managing complication | 1 | SI/RR
|  | Counsellor is skilled for postnatal counselling | 1 | SI/RR
|  | Nursing Staff is skilled for maintaining clinical records including partograph | 1 | SI/RR
Standard C5 | The facility provides drugs and consumables required for assured services. | [5 empty] | 14 | 28
ME C5.1 | The departments have availability of adequate drugs at point of use | Availability of uterotonic Drugs | 1 | OB/RR | Inj Oxytocin 10 IU (to be kept in fridge)
|  | Availability of Antibiotics | 1 | OB/RR | Cap Ampicillin 500mg, Tab Metronidazole 400mg, Gentamicin,
|  | Availability of Antihypertensive | 1 | OB/RR | Tab Misprostol 200mg, Nefedipine,
|  | Availabity of analgesics and antipyretics | 1 | OB/RR | Tab Paracetamol, Tab Ibuprofen
|  | Availability of IV Fluids | 1 | OB/RR | IV fluids, Normal saline, Ringer lactate,
|  | Availability of local anaesthetics | 1 | OB/RR | Inj Xylocaine 2%,
|  | Others | 1 | OB/RR | Tab B complex, Inj Betamethasone, Inj Hydralazine, methyldopa, (Nevirapine and other HIV drugs)
|  | Availability of emergency drugs | 1 | OB/RR | Inj Magsulf 50%, Inj Calcium gluconate 10%, Inj Dexamethasone, inj Hydrocortisone, Succinate, Inj diazepam, inj Pheniramine maleate, inj Corboprost, Inj Fortwin, Inj Phenergen, Betamethasone, Inj Hydralazine, Nefedipine, Methyldopa,ceftriaxone
|  | Availability of drugs for newborn | 1 | OB/RR | Vit K
ME C5.2 | The departments have adequate consumables at point of use | Availability of dressings and Sanitary pads | 1 | OB/RR | gauze piece and cotton swabs, sanitary pads, needle (round body and cutting), chromic catgut no. 0,
|  | Availability of syringes and IV Sets /tubes | 1 | OB/RR | Paediatric iv sets,urinery catheter,
|  | Availability of Antiseptic Solutions | 1 | OB/RR | Antiseptic lotion
|  | Availability of consumables for new born care | 1 | OB/RR | gastric tube and cord clamp, Baby ID tag
ME C5.3 | Emergency drug trays are maintained at every point of care, where ever it may be needed | Emergency Drug Tray is maintained | 1 | OB/RR
Standard C6 | The facility has equipment & instruments required for assured list of services. | [5 empty] | 17 | 34
ME C6.1 | Availability of equipment & instruments for examination & monitoring of patients | Availability of functional Equipment &Instruments for examination & Monitoring | 1 | OB | BP apparatus, stethoscope Thermometer, foetoscope/ Doppler, baby weighting scale, Wall clock (tracers)
ME C6.2 | Availability of equipment & instruments for treatment procedures, being undertaken in the facility | Availability of instrument arranged in Delivery treys | 1 | OB | Scissor, Artery forceps, Cord clamp, Sponge holder, speculum, kidney tray, bowl for antiseptic lotion,
|  | Delivery kits are in adequate numbers as per load | 1 | OB | As per delivery load and cycle time for processing of instrument
|  | Availability of Instruments arranged for Episiotomy trays | 1 | OB | Episiotomy scissor, kidney tray, artery forceps, allis forceps, sponge holder, toothed forceps, needle holder,thumb forceps,
|  | Availability of Baby tray | 1 | OB | Two pre warmed towels/sheets for wrapping the baby, mucus extractor, bag and mask (0 &1 no.), sterilized thread for cord/cord clamp, nasogastric tube,
|  | Availability of instruments arranged for MVA/EVA tray | 1 | OB | Speculum, anterior vaginal wall retractor, posterior wall retractor, sponge holding forceps, MVA syringe, cannulas, MTP, cannulas, small bowl of antiseptic lotion,
|  | Availability of instruments arranged for PPIUCD tray | 1 | OB | PPIUCD insertion forceps, CuIUCD 380A/Cu IUCD375 in sterile package
ME C6.3 | Availability of equipment & instruments for diagnostic procedures being undertaken in the facility | Availability of Point of care diagnostic instruments | 1 | OB | Glucometer, Doppler and HIV rapid diagnostic kit
ME C6.4 | Availability of equipment and instruments for resuscitation of patients and for providing intensive and critical care to patients | Availability of resuscitation Instruments for Newborn Care | 1 | OB | Oxygen, Suction machine/ mucus sucker , radiant warmer, laryngoscope
|  | Availability of resuscitation instrument for mother | 1 | OB | Suction machine, Oxygen, Adult bag and mask, mouth gag,
ME C6.5 | Availability of Equipment for Storage | Availability of equipment for storage for drugs | 1 | OB | Refrigerator, Crash cart/Drug trolley, instrument trolley, dressing trolley
ME C6.6 | Availability of functional equipment and instruments for support services | Availability of equipments for cleaning | 1 | OB | Buckets for mopping, Separate mops for labour room and circulation area duster, waste trolley, Deck brush
|  | Availability of equipment for sterilization and disinfection | 1 | OB | Boiler/Autocalve
ME C6.7 | Departments have patient furniture and fixtures as per load and service provision | Availability of Delivery tables | 1 | OB | Steel Top
|  | Availability of attachment/ accessories with delivery table | 1 | OB | Hospital graded Mattress, IV stand, Kelly's pad, support for delivery tables, Macintosh, foot step, Bed pan
|  | Availability of fixture | 1 | OB | Wall clock with Second arm Lamps- wall mounted /side, electrical fixture for equipments like radiant warmer, suction .
|  | Availability of Furniture | 1 | OB | Cupboard, Table, chair, Counter.
| Area of Concern - D Support Services | [5 empty] | 53 | 106
Standard D1 | The facility has established Programme for inspection, testing and maintenance and calibration of Equipment. | [5 empty] | 4 | 8
ME D1.1 | The facility has established system for maintenance of critical Equipment | All equipments are covered under AMC including preventive maintenance | 1 | SI/RR
|  | There is system of timely corrective break down maintenance of the equipments | 1 | SI/RR
ME D1.2 | The facility has established procedure for internal and external calibration of measuring Equipment | All the measuring equipments/ instrument are calibrated | 1 | OB/ RR | BP apparatus, thermometers, weighing scale , radiant warmer Etc are calibrated
ME D1.3 | Operating and maintenance instructions are available with the users of equipment | Up to date instructions for operation and maintenance of equipments are readily available with labour room staff. | 1 | OB/SI
Standard D2 | The facility has defined procedures for storage, inventory management and dispensing of drugs in pharmacy and patient care areas | [5 empty] | 12 | 24
ME D2.1 | There is established procedure for forecasting and indenting drugs and consumables | There is established system of timely indenting of consumables and drugs | 1 | SI/RR | Stock level are daily updated Requisition are timely placed
ME D2.2 | The facility has establish procedure for procurement of drugs
ME D2.3 | The facility ensures proper storage of drugs and consumables | Drugs are stored in containers/tray/crash cart and are labelled | 1 | OB
|  | Empty and filled cylinders are labelled | 1 | OB
ME D2.4 | The facility ensures management of expiry and near expiry drugs | Expiry dates' are maintained at emergency drug tray | 1 | OB/RR
|  | No expiry drug found | 1 | OB/RR
|  | Records for expiry and near expiry drugs are maintained for drug stored at department | 1 | RR
ME D2.5 | The facility has established procedure for inventory management techniques | There is practice of calculating and maintaining buffer stock | 1 | SI/RR
|  | Department maintained stock and expenditure register of drugs and consumables | 1 | RR/SI
ME D2.6 | There is a procedure for periodically replenishing the drugs in patient care areas | There is procedure for replenishing drug tray /crash cart | 1 | SI/RR
|  | There is no stock out of drugs | 1 | OB/SI
ME D2.7 | There is process for storage of vaccines and other drugs, requiring controlled temperature | Temperature of refrigerators are kept as per storage requirement and records are maintained | 1 | OB/RR | Check for temperature charts are maintained and updated periodically
ME D2.8 | There is a procedure for secure storage of narcotic and psychotropic drugs | Narcotics and psychotropic drugs are kept in lock and key | 1 | SI/RR
Standard D3 | The facility provides safe, secure and comfortable environment to staff, patients and visitors. | [5 empty] | 11 | 22
ME D3.1 | The facility provides adequate illumination level at patient care areas | Adequate Illumination at delivery table | 1 | OB
|  | Adequate Illumination at observation area | 1 | OB
ME D3.2 | The facility has provision of restriction of visitors in patient areas | There is no overcrowding in labour room | 1 | OB
|  | One female family members allowed to stay with the PW | 1 | OB/SI
|  | Visitors are restricted at labour room | 1 | OB/SI
ME D3.3 | The facility ensures safe and comfortable environment for patients and service providers | Temperature control and ventilation in patient care area | 1 | PI/OB | Optimal temperature and warmth is ensured at labour room. Fans/ Air conditioning/Heating/Exhaust/Ventilators as per environment condition and requirement
|  | Temperature control and ventilation in nursing station/duty room | 1 | SI/OB | Fans/ Air conditioning/Heating/Exhaust/Ventilators as per environment condition and requirement
ME D3.4 | The facility has security system in place at patient care areas | Lockable doors in labour room | 1 | OB
|  | Security arrangement in labour room | 1 | OB/SI | Preferably female security staff
|  | New born identification band and foot prints are in practice | 1 | OB/RR
ME D3.5 | The facility has established measure for safety and security of female staff | Ask female staff weather they feel secure at work place | 1 | SI
Standard D4 | The facility has established Programme for maintenance and upkeep of the facility | [5 empty] | 11 | 22
ME D4.1 | Exterior of the facility building is maintained appropriately | Building is painted/whitewashed in uniform colour | 1 | OB
|  | Interior of patient care areas are plastered & painted | 1 | OB
ME D4.2 | Patient care areas are clean and hygienic | Floors, walls, roof, roof topes, sinks patient care and circulation areas are Clean | 1 | OB | All area are clean with no dirt,grease,littering and cobwebs
|  | Surface of furniture and fixtures are clean | 1 | OB
|  | Toilets are clean with functional flush and running water | 1 | OB
ME D4.3 | Hospital infrastructure is adequately maintained | Check for there is no seepage , Cracks, chipping of plaster | 1 | OB
|  | Window panes , doors and other fixtures are intact | 1 | OB
|  | Delivery table are intact and without rust | 1 | OB
|  | Mattresses are intact and clean | 1 | OB
ME D4.4 | Hospital maintains the open area and landscaping of them
ME D4.5 | The facility has policy of removal of condemned junk material | No condemned/Junk material in the Labour room | 1 | OB
ME D4.6 | The facility has established procedures for pest, rodent and animal control | No stray animal/rodent/birds | 1 | OB
Standard D5 | The facility ensures 24X7 water and power backup as per requirement of service delivery, and support services norms | [5 empty] | 6 | 12
ME D5.1 | The facility has adequate arrangement storage and supply for portable water in all functional areas | Availability of 24x7 running and potable water | 1 | OB/SI
|  | Availability of hot water | 1 | OB/SI
ME D5.2 | The facility ensures adequate power backup in all patient care areas as per load | Availability of power back up in labour room | 1 | OB/SI
|  | Availability of UPS | 1 | OB/SI
|  | Availability of Emergency light | 1 | OB/SI
ME D5.3 | Critical areas of the facility ensures availability of oxygen, medical gases and vacuum supply | Availability of Centralized /local piped Oxygen and vacuum supply | 1 | OB
StandardD6 | Dietary services are available as per service provision and nutritional requirement of the patients.
ME D6.1 | The facility has provision of nutritional assessment of the patients
ME D6.2 | The facility provides diets according to nutritional requirements of the patients
ME D6.3 | Hospital has standard procedures for preparation, handling, storage and distribution of diets, as per requirement of patients
Standard D7 | The facility ensures clean linen to the patients | [5 empty] | 4 | 8
ME D7.1 | The facility has adequate sets of linen | Availability of clean Drape, Macintosh on the Delivery table, | 1 | OB/RR
|  | Gown are provided in labour room | 1 | OB/RR
|  | Availability of Baby blanket, sterile drape for baby | 1 | OB/RR
ME D7.2 | The facility has established procedures for changing of linen in patient care areas
ME D7.3 | The facility has standard procedures for handling , collection, transportation and washing of linen | There is system to check the cleanliness and Quantity of the linen received from laundry | 1 | SI/RR
Standard D8 | The facility has defined and established procedures for promoting public participation in management of hospital transparency and accountability.
ME D8.1 | The facility has established procures for management of activities of Rogi Kalyan Samitis
ME D8.2 | The facility has established procedures for community based monitoring of its services
Standard D9 | Hospital has defined and established procedures for Financial Management
ME D9.1 | The facility ensures the proper utilization of fund provided to it
ME D9.2 | The facility ensures proper planning and requisition of resources based on its need
Standard D10 | The facility is compliant with all statutory and regulatory requirement imposed by local, state or central government
ME D10.1 | The facility has requisite licences and certificates for operation of hospital and different activities
ME D10.2 | Updated copies of relevant laws, regulations and government orders are available at the facility
ME D10.3 | The facility ensure relevant processes are in compliance with statutory requirement
Standard D11 | Roles & Responsibilities of administrative and clinical staff are determined as per govt. regulations and standards operating procedures. | [5 empty] | 4 | 8
ME D11.1 | The facility has established job description as per govt guidelines | Staff is aware of their role and responsibilities | 1 | SI
ME D11.2 | The facility has a established procedure for duty roster and deputation to different departments | There is procedure to ensure that staff is available on duty as per duty roster | 1 | RR/SI | Check for system for recording time of reporting and relieving (Attendance register/ Biometrics etc)
|  | There is designated in charge for department | 1 | SI
ME D11.3 | The facility ensures the adherence to dress code as mandated by its administration / the health department | Doctor, nursing staff and support staff adhere to their respective dress code | 1 | OB
Standard D12 | The facility has established procedure for monitoring the quality of outsourced services and adheres to contractual obligations | [5 empty] | 1 | 2
ME D12.1 | There is established system for contract management for out sourced services | There is procedure to monitor the quality and adequacy of outsourced services on regular basis | 1 | SI/RR | Verification of outsourced services (cleaning/ Dietary/Laundry/Security/Maintenance) provided are done by designated in-house staff
ME D12.2 | There is a system of periodic review of quality of out sourced services
| Area of Concern - E Clinical Services | [5 empty] | 98 | 196
Standard E1 | The facility has defined procedures for registration, consultation and admission of patients. | [5 empty] | 7 | 14
ME E1.1 | The facility has established procedure for registration of patients | Unique identification number is given to each patient during process of registration | 1 | RR
|  | Patient demographic details are recorded in admission records | 1 | RR | Check for that patient demographics like Name, age, Sex, Chief complaint, etc.
ME E1.2 | The facility has a established procedure for OPD consultation
ME E1.3 | There is established procedure for admission of patients | There is procedure for admitting Pregnant women directly coming to Labour room | 1 | SI/RR/OB
|  | Admission is done by written order of a qualified doctor | 1 | SI/RR/OB
|  | There is no delay in admission of pregnant women in labour pain | 1 | OB/SI/RR
|  | Time of admission is recorded in patient record | 1 | RR
ME E1.4 | There is established procedure for managing patients, in case beds are not available at the facility | Check how service provider cope with shortage of delivery tables due to high patient load | 1 | OB/SI
Standard E2 | The facility has defined and established procedures for clinical assessment and reassessment of the patients. | [5 empty] | 6 | 12
ME E2.1 | There is established procedure for initial assessment of patients | Rapid Initial assessment of Pregnant Women to identify complication and Prioritize care | 1 | RR/SI/OB | Assessment and immediate sign if following danger sign are present - difficulty in breathing, fever, sever abdominal pain, Convulsion or unconsciousness, Severe headache or blurred vision
|  | Recording and reporting of Clinical History | 1 | RR/SI | Recording of women obstetric History including LMP and EDD Parity, gravid status, h/o CS, Live birth, Still Birth, Medical History (TB, Heart diseases, STD etc, HIV status and Surgical History
|  | Recording of current labour details | 1 | RR | Time of start, frequency of contractions, time of bag of water leaking, colour and smell of fluid and baby movement
|  | Physical Examination | 1 | RR/SI | Recording of Vitals , shape & Size of abdomen , presence of scars, foetal lie and presentation. & vaginal examination
ME E2.2 | There is established procedure for follow-up/ reassessment of Patients | There is fixed schedule for reassessment of Pregnant women as per standard protocol | 1 | RR/OB | There is fix schedule of reassessment as per protocols
|  | Partograph is used and updated as per stages of labour | 1 | RR/OB | All step are recorded in timely manner
Standard E3 | The facility has defined and established procedures for continuity of care of patient and referral | [5 empty] | 9 | 18
ME E3.1 | The facility has established procedure for continuity of care during interdepartmental transfer | There is procedure of handing over patient / new born form labour room to OT/ Ward/SNCU | 1 | SI/RR
|  | There is a procedure for consultation of the patient to other specialist with in the hospital | 1 | SI/RR
ME E3.2 | The facility provides appropriate referral linkages to the patients/Services for transfer to other/higher facilities to assure the continuity of care. | Patient referred with referral slip | 1 | RR/SI | A referral slip/ Discharge card is provide to patient when referred to another health care facility
|  | Advance communication is done with higher centre | 1 | RR/SI
|  | Referral vehicle is being arranged | 1 | RR/SI
|  | Referral in or referral out register is maintained | 1 | SI/RR
|  | Facility has functional referral linkages to lower facilities | 1 | RR | Check for referral cards filled from lower facilities
|  | There is a system of follow up of referred patients | 1 | SI/RR
ME E3.3 | A person is identified for care during all steps of care | Nurse is assigned for each patients | 1 | RR/SI | Check for nursing hand over
ME E3.4 | The facility is connected to medical colleges through telemedicine services
Standard E4 | The facility has defined and established procedures for nursing care | [5 empty] | 7 | 14
ME E4.1 | Procedure for identification of patients is established at the facility | There is a process for ensuring the identification before any clinical procedure | 1 | OB/SI | Identification tags for mother and baby / foot print are used for identification of newborns
ME E4.2 | Procedure for ensuring timely and accurate nursing care as per treatment plan is established at the facility | There is a process to ensue the accuracy of verbal/telephonic orders | 1 | SI/RR | Verbal orders are rechecked before administration
ME E4.3 | There is established procedure of patient hand over, whenever staff duty change happens | Patient hand over is given during the change in the shift | 1 | RR/SI
|  | Nursing Handover register is maintained | 1 | RR
|  | Hand over is given bed side | 1 | SI/RR
ME E4.4 | Nursing records are maintained
ME E4.5 | There is procedure for periodic monitoring of patients | Patient Vitals are monitored and recorded periodically | 1 | RR/SI | Check for BP, pluse,temp,Respiratory rate FHR, Uterine contraction Contractions, any other vital required is monitored
|  | Critical patients are monitored continuously | 1 | RR/SI | Check for BP, pluse,temp,Respiratory rate FHR, Uterine contraction Contractions, any other vital required is monitored
Standard E5 | The facility has a procedure to identify high risk and vulnerable patients. | [5 empty] | 2 | 4
ME E5.1 | The facility identifies vulnerable patients and ensure their safe care | Vulnerable patients are identified and measures are taken to protect them from any harm | 1 | OB/SI | Check the measure taken to prevent new born theft, sweeping and baby fall
ME E5.2 | The facility identifies high risk patients and ensure their care, as per their need | High Risk Pregnancy cases are identified and kept in intensive monitoring | 1 | OB/SI | Check for the frequency of observation: Ist stage :half an hour and 2nd stage: every 5 min
Standard E6 | The facility follows standard treatment guidelines defined by state/Central government for prescribing the generic drugs & their rational use. | [5 empty] | 5 | 10
ME E6.1 | The facility ensured that drugs are prescribed in generic name only | Check for BHT if drugs are prescribed under generic name only | 1 | RR
ME E6.2 | There is procedure of rational use of drugs | Check for that relevant Standard treatment guideline are available at point of use | 1 | RR
|  | Check staff is aware of the drug regime and doses as per STG | 1 | SI/RR
|  | Check BHT that drugs are prescribed as per STG | 1 | RR | Check for rational use of uterotonic drugs
|  | Availability of drug formulary | 1 | SI/OB
Standard E7 | The facility has defined procedures for safe drug administration | [5 empty] | 10 | 20
ME E7.1 | There is process for identifying and cautious administration of high alert drugs | High alert drugs available in department are identified | 1 | SI/OB | Magsulf (to be kept in fridge) , Methergine
|  | Maximum dose of high alert drugs are defined and communicated | 1 | SI/RR | Value for maximum doses as per age, weight and diagnosis are available with nursing station and doctor
|  | There is process to ensure that right doses of high alert drugs are only given | 1 | SI/RR | A system of independent double check before administration, Error prone medical abbreviations are avoided
ME E7.2 | Medication orders are written legibly and adequately | Every Medical advice and procedure is accompanied with date , time and signature | 1 | RR
|  | Check for the writing, It comprehendible by the clinical staff | 1 | RR/SI
ME E7.3 | There is a procedure to check drug before administration/ dispensing | Drugs are checked for expiry and other inconsistency before administration | 1 | OB/SI
|  | Check single dose vial are not used for more than one dose | 1 | OB | Check for any open single dose vial with left over content intended to be used later on
|  | Check for separate sterile needle is used every time for multiple dose vial | 1 | OB | In multi dose vial needle is not left in the septum
|  | Any adverse drug reaction is recorded and reported | 1 | RR/SI
ME E7.4 | There is a system to ensure right medicine is given to right patient | Administration of medicines done after ensuring right patient, right drugs , right route, right time | 1 | SI/OB
ME E7.5 | Patient is counselled for self drug administration
Standard E8 | The facility has defined and established procedures for maintaining, updating of patients’ clinical records and their storage | [5 empty] | 7 | 14
ME E8.1 | All the assessments, re-assessment and investigations are recorded and updated | Progress of labour is recorded | 1 | RR | Partograph Full compliance and on bed head ticket partial compliance
ME E8.2 | All treatment plan prescription/orders are recorded in the patient records. | Treatment prescribed in nursing records | 1 | RR | Medication order, treatment plan, lab investigation are recoded adequately
ME E8.3 | Care provided to each patient is recorded in the patient records
ME E8.4 | Procedures performed are written on patients records | Delivery note is adequate | 1 | RR | Outcome of delivery, date and time, gestation age, delivery conducted by, type of delivery, complication if any ,indication of intervention, date and time of transfer, cause of death etc
|  | Baby note is adequate | 1 | RR | Did baby cry, Essential new born care, resuscitation if any, Sex, weight, time of initiation of breast feed, birth doses, congenital anomaly if any.
ME E8.5 | Adequate form and formats are available at point of use | Standard Formats available | 1 | RR/OB | Availability of BHT, Partograph, etc.
ME E8.6 | Register/records are maintained as per guidelines | Registers and records are maintained as per guidelines | 1 | RR | labour room register, OT register, MTP register,FP register, Maternal death register and records, lab register, referral in /out register, internal& PPIUD register etc.
|  | All register/records are identified and numbered | 1 | RR
ME E8.7 | The facility ensures safe and adequate storage and retrieval of medical records
Standard E9 | The facility has defined and established procedures for discharge of patient.
ME E9.1 | Discharge is done after assessing patient readiness
ME E9.2 | Case summary and follow-up instructions are provided at the discharge
ME E9.3 | Counselling services are provided as during discharges wherever required
ME E9.4 | The facility has established procedure for patients leaving the facility against medical advice, absconding, etc
Standard E10 | The facility has defined and established procedures for intensive care.
ME E10.1 | The facility has established procedure for shifting the patient to step-down/ward based on explicit assessment criteria
ME E10.2 | The facility has defined and established procedure for intensive care
ME E10.3 | The facility has explicit clinical criteria for providing intubation & extubation, and care of patients on ventilation and subsequently on its removal
Standard E11 | The facility has defined and established procedures for Emergency Services and Disaster Management | [5 empty] | 2 | 4
ME E11.1 | There is procedure for Receiving and triage of patients
ME E11.2 | Emergency protocols are defined and implemented
ME E11.3 | The facility has disaster management plan in place | Staff is aware of disaster plan | 1 | SI/RR
|  | Role and responsibilities of staff in disaster is defined | 1 | SI/RR
ME E11.4 | The facility ensures adequate and timely availability of ambulances services and mobilisation of resources, as per requirement
ME E11.5 | There is procedure for handling medico legal cases
Standard E12 | The facility has defined and established procedures of diagnostic services | [5 empty] | 2 | 4
ME E12.1 | There are established procedures for Pre-testing Activities | Container is labelled properly after the sample collection | 1 | OB
ME E12.2 | There are established procedures for testing Activities
ME E12.3 | There are established procedures for Post-testing Activities | Nursing station is provided with the critical value of different test | 1 | SI/RR
Standard E13 | The facility has defined and established procedures for Blood Bank/Storage Management and Transfusion. | [5 empty] | 6 | 12
ME E13.1 | Blood bank has defined and implemented donor selection criteria
ME E13.2 | There is established procedure for the collection of blood
ME E13.3 | There is established procedure for the testing of blood
ME E13.4 | There is established procedure for preparation of blood component
ME E13.5 | There is establish procedure for labelling and identification of blood and its product
ME E13.6 | There is established procedure for storage of blood
ME E13.7 | There is established the compatibility testing
ME E13.8 | There is established procedure for issuing blood
ME E13.9 | There is established procedure for transfusion of blood | Consent is taken before transfusion | 1 | RR
|  | Patient's identification is verified before transfusion | 1 | SI/OB
|  | blood is kept on optimum temperature before transfusion | 1 | RR
|  | Blood transfusion is monitored and regulated by qualified person | 1 | SI/RR
|  | Blood transfusion note is written in patient record | 1 | RR
ME E13.10 | There is a established procedure for monitoring and reporting Transfusion complication | Any major or minor transfusion reaction is recorded and reported to responsible person | 1 | RR
Standard E14 | The facility has established procedures for Anaesthetic Services
ME E14.1 | The facility has established procedures for Pre-anaesthetic Check up and maintenance of records
ME E14.2 | The facility has established procedures for monitoring during anaesthesia and maintenance of records
ME E14.3 | The facility has established procedures for Post-anaesthesia care
Standard E15 | The facility has defined and established procedures of Operation theatre services
ME E15.1 | The facility has established procedures OT Scheduling
ME E15.2 | The facility has established procedures for Preoperative care
ME E15.3 | The facility has established procedures for Surgical Safety
ME E15.4 | The facility has established procedures for Post operative care
Standard E16 | The facility has defined and established procedures for end of life care and death | [5 empty] | 5 | 10
ME E16.1 | Death of admitted patient is adequately recorded and communicated | Facility has a standard procedure to decent communicate death to relatives | 1 | SI
|  | Death note is written on patient record | 1 | RR
ME E16.2 | The facility has standard procedures for handling the death in the hospital | Death note including efforts done for resuscitation is noted in patient record | 1 | RR | Maternal and neonatal death are recorded as per MDR guideline
|  | There is established criteria for distinguish between newborn death and still birth | 1 | SI/RR | Every still record/ birth is examined by paediatrician before declaration
|  | Death summary is given to patient attendant quoting the immediate cause and underlying cause if possible | 1 | SI/RR
ME E16.3 | The facility has standard operating procedure for end of life support
ME E16.4 | The facility has standard procedures for conducting post-mortem, its recording and meeting its obligation under the law
Standard E17 | The facility has established procedures for Antenatal care as per guidelines | [5 empty] | 2 | 4
ME E17.1 | There is an established procedure for Registration and follow up of pregnant women. | Facility provides and updates “Mother and Child Protection Card”. | 1 | RR/SI
ME E17.2 | There is an established procedure for History taking, Physical examination, and counselling of each antenatal woman, visiting the facility.
ME E17.3 | The facility ensures availability of diagnostic and drugs during antenatal care of pregnant women | Tests for Urine albumin, haemoglobin, blood grouping | 1 | RR/SI
ME E17.4 | There is an established procedure for identification of High risk pregnancy and appropriate treatment/referral as per scope of services.
ME E17.5 | There is an established procedure for identification and management of moderate and severe anaemia
ME E17.6 | Counselling of pregnant women is done as per standard protocol and gestational age
Standard E18 | The facility has established procedures for Intranatal care as per guidelines | [5 empty] | 22 | 44
ME E18.1 | Established procedures and standard protocols for management of different stages of labour including AMTSL (Active Management of third Stage of labour) are followed at the facility | Management of 1st stage of labour: | 1 | SI/OB | Check progress is recorded, Women is allowed to give birth in the position she wants , Check progress is recorded on partograph
|  | Management of 2nd stage of labour: | 1 | SI/OB | Allows the spontaneous delivery of head , gives Perineal support and assist in delivering baby. Check progress is recorded on partograph
|  | Active Management of Third stage of labour | 1 | SI/OB | Palpation of mother's abdomen to rule out presence of second baby
|  | Use of Uterotonic Drugs | 1 | SI/RR | Administration of 10 IU of oxytocin IM with in 1 minute of Birth
|  | Control Cord Traction | 1 | SI/RR | Only during Contraction
|  | Uterine Massage | 1 | SI/RR | After placenta expulsion , Checks Placenta & Membranes for Completeness
ME E18.2 | There is an established procedure for assisted and C-section deliveries per scope of services. | Staff is aware of Indications for refereeing patient for to Surgical Intervention | 1 | SI | Ask staff how they identify slow progress of labour , Hoe they interpret Partogram
ME E18.3 | There is established procedure for management/Referral of Obstetrics Emergencies as per scope of services. | Management and follow up of PIH/Eclampsia \Pre Eclampsia | 1 | SI/RR | Monitors BP in every case, and tests for proteinuria if BP is >140/90 mmHg If BP is 140/90 mmHg or more with proteinuria 2+ along with any two of the following danger signs: severe headache, blurring of vision, severe pain abdomen or reduced urine output, BP > 160/110 or more with proteinuria 3+; OR in cases of eclampsia—administers loading dose of Magnesium Sulphate (MgSO4) and refers/ calls for specialist attention; continues maintenance dose of MgSO4- 5 g of MgSO4 IM in alternate buttocks every four hours, for 24 hours after birth/last convulsion, whichever is later If BP is >160/110 mmHg or more, give appropriate anti-hypertensive (Hydralazine/Methyl Dopa/ Nifedipine)
|  | Management of Postpartum Haemorrhage | 1 | SI/RR | Assessment of bleeding (PPH if >500 ml or > 1 pad soaked in 5 Minutes. IV Fluid, bladder catheterization, measurement of urine output, Administration of 20 IU of Oxytocin in 500 ml Normal Saline or RL at 40-60 drops per minute . Performs Bimanual Compression of Uterus
|  | Management of Retained Placenta | 1 | SI/RR | Administration of another dose of Oxytocin 20IU in 500 ml of RL at 40-60 drops/min an attempt to deliver placenta with repeat controlled cord traction. If this fails performs manual removal of Placenta
|  | Management of Uterine Atony | 1 | SI/RR | Vigorous Uterine massage, gives Oxytocin 20 IU in 500 ml of R/L 40 to 60 drops/minute (Continue to administer Oxytocin upto maximum of 3 litres of solution with Oxytocin) If still bleeding perform bi manual uterine compression with palpation of femoral pulse
|  | Management of Obstructed Labour | 1 | SI/RR | Diagnoses obstructed labour based on data registered from the partograph, Re-hydrates the patient to maintain normal plasma volume, check vitals, gives broad spectrum antibiotics, perform bladder catheterization and takes blood for Hb & grouping, Decides on the mode of delivery as per the condition of mother and the baby
|  | Management of Puerperal sepsis | 1 | SI/RR | Diagnosis puerperal sepsis based on clinical criteria: continuous fever for at least 24 hours or recurring within the first 10 days after delivery, increased pulse rate, increased respiration, offensive/foul smelling lochia, sub involution of the uterus, headache and general malaise, pelvic pain, pain, swelling and pus discharge from laceration or episiotomy or incision. Conduct appropriate lab. investigations, Prescribes IV fluids and broad spectrum antibiotics for seven days & advises perineal care
|  | Delivery of infectious cases HIV positive PW | 1 | SI/RR
ME E18.4 | There is an established procedure for new born resuscitation and newborn care. | Recording date and Time of Birth, Weight | 1 | SI/RR | Check the records
|  | Dried and put on mothers abdomen | 1 | SI/OB | With a clean towel from head to feet, discards the used towel and covers baby including head in a clean dry towel
|  | Vitamin K for low birth weight | 1 | SI/RR | Given to all new born (1.0 mg IM in > 1500 gms and 0.5 mg in < 1500 gms
|  | Warmth | 1 | SI/RR | Check use of radiant warmer
|  | Care of Cord and Eyes | 1 | SI/RR | Delayed Cord Clamping, Clamps & Cut the cords by sterile instruments within 1-3 minutes of Birth Clean baby's eyes with sterile cotton/Gauge
|  | APGAR Score | 1 | SI/RR | Check practice of maintaining APGAR Score, Nurse is skilled for it
|  | Kangaroo Mother Care | 1 | SI/RR | Observe /Ask staff about the practice
|  | New born Resuscitation | 1 | SI/RR | Ask Nursing staff to demonstrate Resuscitation Technique
Standard E19 | The facility has established procedures for postnatal care as per guidelines | [5 empty] | 6 | 12
ME E19.1 | Post partum Care is provided to the mothers | Prevention of Hypothermia of new born | 1 | SI/RR
|  | Initiation of Breastfeeding with in 1 Hour | 1 | PI
|  | Mother is monitored as per post natal care guideline | 1 | RR/SI | Check for records of Uterine contraction, bleeding, temperature, B.P, pulse, Breast examination, (Nipple care, milk initiation)
|  | Check for perineal washes performed | 1 | PI
ME E19.2 | The facility ensures adequate stay of mother and newborn in a safe environment as per standard Protocols.
ME E19.3 | There is an established procedure for Post partum counselling of mother | Labour room has procedure to provide post partum Counselling | 1 | PI/SI | Breast feeding and prevention of hypothermia
ME E19.4 | The facility has established procedures for stabilization/treatment/referral of post natal complications | There is established criteria for shifting newborn to SNCU | 1 | SI/RR
ME E19.5 | There is established procedure for discharge and follow up of mother and newborn.
Standard E20 | The facility has established procedures for care of new born, infant and child as per guidelines
ME E20.1 | The facility provides immunization services as per guidelines
ME E20.2 | Triage, Assessment & Management of newborns having emergency signs are done as per guidelines
ME E20.3 | Management of Low birth weight newborns is done as per guidelines
ME E20.4 | Management of neonatal asphyxia, jaundice and sepsis is done as per guidelines
ME E20.5 | Management of children presenting with fever, cough/ breathlessness is done as per guidelines
ME E20.6 | Management of children with severe Acute Malnutrition is done as per guidelines
ME E20.7 | Management of children presenting diarrhoea is done per guidelines
Standard E21 | The facility has established procedures for abortion and family planning as per government guidelines and law
ME E21.1 | Family planning counselling services provided as per guidelines
ME E21.2 | The facility provides spacing method of family planning as per guideline
ME E21.3 | The facility provides limiting method of family planning as per guideline
ME E21.4 | The facility provide counselling services for abortion as per guideline
ME E21.5 | The facility provide abortion services for 1st trimester as per guideline
ME E21.6 | The facility provide abortion services for 2nd trimester as per guideline
Standard E22 | The facility provides Adolescent Reproductive and Sexual Health services as per guidelines
ME E22.1 | The facility provides Promotive ARSH Services
ME E22.2 | The facility provides Preventive ARSH Services
ME E22.3 | The facility Provides Curative ARSH Services
ME E22.4 | The facility Provides Referral Services for ARSH
Standard E23 | The facility provides National health Programme as per operational/Clinical Guidelines
ME E23.1 | The facility provides services under National Vector Borne Disease Control Programme as per guidelines
ME E23.2 | The facility provides services under Revised National TB Control Programme as per guidelines
ME E23.3 | The facility provides services under National Leprosy Eradication Programme as per guidelines
ME E23.4 | The facility provides services under National AIDS Control Programme as per guidelines
ME E23.5 | The facility provides services under National Programme for control of Blindness as per guidelines
ME E23.6 | The facility provides services under Mental Health Programme as per guidelines
ME E23.7 | The facility provides services under National Programme for the health care of the elderly as per guidelines
ME E23.8 | The facility provides service under National Programme for Prevention and Control of cancer, diabetes, cardiovascular diseases & stroke (NPCDCS) as per guidelines
ME E23.9 | The facility provide service for Integrated disease surveillance Programme
ME E23.10 | The facility provide services under National Programme for prevention and control of deafness
| Area of Concern - F Infection Control | [5 empty] | 69 | 138
Standard F1 | The facility has infection control Programme and procedures in place for prevention and measurement of hospital associated infection | [5 empty] | 4 | 8
ME F1.1 | The facility has functional infection control committee
ME F1.2 | The facility has provision for Passive and active culture surveillance of critical & high risk areas | Surface and environment samples are taken for microbiological surveillance | 1 | SI/RR | Swab are taken from infection prone surfaces
ME F1.3 | The facility measures hospital associated infection rates
ME F1.4 | There is Provision of Periodic Medical Check-up and immunization of staff | There is procedure for immunization of the staff | 1 | SI/RR | Hepatitis B, Tetanus Toxic etc
|  | Periodic medical checkups of the staff | 1 | SI/RR
ME F1.5 | The facility has established procedures for regular monitoring of infection control practices | Regular monitoring of infection control practices | 1 | SI/RR | Hand washing and infection control audits done at periodic intervals
ME F1.6 | The facility has defined and established antibiotic policy
Standard F2 | The facility has defined and Implemented procedures for ensuring hand hygiene practices and antisepsis | [5 empty] | 13 | 26
ME F2.1 | Hand washing facilities are provided at point of use | Availability of hand washing Facility at Point of Use | 1 | OB | Check for availability of wash basin near the point of use
|  | Availability of running Water | 1 | OB/SI | Ask to Open the tap. Ask Staff water supply is regular
|  | Availability of antiseptic soap with soap dish/ liquid antiseptic with dispenser. | 1 | OB/SI | Check for availability/ Ask staff if the supply is adequate and uninterrupted
|  | Availability of Alcohol based Hand rub | 1 | OB/SI | Check for availability/ Ask staff for regular supply.
|  | Display of Hand washing Instruction at Point of Use | 1 | OB | Prominently displayed above the hand washing facility , preferably in Local language
|  | Availability of elbow operated taps | 1 | OB
|  | Hand washing sink is wide and deep enough to prevent splashing and retention of water | 1 | OB
ME F2.2 | The facility staff is trained in hand washing practices and they adhere to standard hand washing practices | Adherence to 6 steps of Hand washing | 1 | SI/OB | Ask of demonstration
|  | Staff aware of when to hand wash | 1 | SI
ME F2.3 | The facility ensures standard practices and materials for antisepsis | Availability of Antiseptic Solutions | 1 | OB
|  | Proper cleaning of procedure site with antisepetics | 1 | OB/SI | like before giving IM/IV injection, drawing blood, putting Intravenous and urinary catheter
|  | Proper cleaning of perineal area before procedure with antisepsis | 1 | SI
|  | Check Shaving is not done during part preparation/delivery cases | 1 | SI
Standard F3 | The facility ensures standard practices and materials for Personal protection | [5 empty] | 10 | 20
ME F3.1 | The facility ensures adequate personal protection Equipment as per requirements | Availability of Masks | 1 | OB/SI
|  | Sterile s gloves are available at OT and labour room | 1 | OB/SI
|  | Use of elbow length gloves for obstetrical purpose | 1 | OB/SI
|  | Availability of gown/ Apron | 1 | OB/SI
|  | Availability of shoe cover/gum boots | 1 | OB/SI
|  | Availability of Caps | 1 | OB/SI
|  | Heavy duty gloves and gum boats for housekeeping staff | 1 | OB/SI
|  | Personal protective kit for delivering HIV patients | 1 | OB/SI
ME F3.2 | The facility staff adheres to standard personal protection practices | No reuse of disposable gloves, Masks, caps and aprons. | 1 | OB/SI
|  | Compliance to correct method of wearing and removing the gloves | 1 | SI
Standard F4 | The facility has standard procedures for processing of equipment and instruments | [5 empty] | 15 | 30
ME F4.1 | The facility ensures standard practices and materials for decontamination and cleaning of instruments and procedures areas | Decontamination of operating & Procedure surfaces | 1 | SI/OB | Ask stff about how they decontaminate the procedure surface like Delivery Table, Stretcher/Trolleys etc. (Wiping with .5% Chlorine solution
|  | Proper Decontamination of instruments after use | 1 | SI/OB | Ask staff how they decontaminate the instruments like ambubag, suction cannula, Delivery Instruments (Soaking in 0.5% Chlorine Solution, Wiping with 0.5% Chlorine Solution or 70% Alcohol as applicable
|  | Proper handling of Soiled and infected line | 1 | SI/OB | No sorting ,Rinsing or sluicing at Point of use/ Patient care area
|  | Contact time for decontamination is adequate | 1 | SI/OB | 10 minutes
|  | Cleaning of instruments after decontamination | 1 | SI/OB | Cleaning is done with detergent and running water after decontamination
|  | Proper handling of Soiled and infected linen | 1 | SI/OB | No sorting ,Rinsing or sluicing at Point of use/ Patient care area
|  | Staff know how to make chlorine solution | 1 | SI/OB
ME F4.2 | The facility ensures standard practices and materials for disinfection and sterilization of instruments and equipment | Equipment and instruments are sterilized after each use as per requirement | 1 | OB/SI | Autoclaving/HLD/Chemical Sterilization
|  | High level Disinfection of instruments/equipments is done as per protocol | 1 | OB/SI | Ask staff about method and time required for boiling
|  | Autoclaving of delivery kits is done as per protocols | 1 | OB/SI | Ask staff about temperature, pressure and time
|  | Chemical sterilization of instruments/equipments is done as per protocols | 1 | OB/SI | Ask staff about method, concentration and contact time required for chemical sterilization
|  | Autoclaved linen are used for procedure | 1 | OB/SI
|  | Autoclaved dressing material is used | 1 | OB/SI
|  | There is a procedure to ensure the traceability of sterilized packs | 1 | OB/SI
|  | Sterility of autoclaved packs is maintained during storage | 1 | OB/SI | Sterile packs are kept in clean, dust free, moist free environment.
Standard F5 | Physical layout and environmental control of the patient care areas ensures infection prevention | [5 empty] | 12 | 24
ME F5.1 | Layout of the department is conducive for the infection control practices | Facility layout ensures separation of routes for clean and dirty items | 1 | OB
ME F5.2 | The facility ensures availability of standard materials for cleaning and disinfection of patient care areas | Availability of disinfectant as per requirement | 1 | OB/SI | Chlorine solution, Gluteraldehye, carbolic acid
|  | Availability of cleaning agent as per requirement | 1 | OB/SI | Hospital grade phenyl, disinfectant detergent solution
ME F5.3 | The facility ensures standard practices are followed for the cleaning and disinfection of patient care areas | Staff is trained for spill management | 1 | SI/RR
|  | Cleaning of patient care area with detergent solution | 1 | SI/RR
|  | Staff is trained for preparing cleaning solution as per standard procedure | 1 | SI/RR
|  | Standard practice of mopping and scrubbing are followed | 1 | OB/SI | Unidirectional mopping from inside out
|  | Cleaning equipments like broom are not used in patient care areas | 1 | OB/SI | Any cleaning equipment leading to dispersion of dust particles in air should be avoided
|  | Use of three bucket system for mopping | 1 | OB/SI
|  | Fumigation/carbolization as per schedule | 1 | SI/RR
|  | External footwares are restricted | 1 | OB
ME F5.4 | The facility ensures segregation infectious patients | Isolation and barrier nursing procedure are followed for septic cases | 1 | OB/SI
ME F5.5 | The facility ensures air quality of high risk area
Standard F6 | The facility has defined and established procedures for segregation, collection, treatment and disposal of Bio Medical and hazardous Waste. | [5 empty] | 15 | 30
ME F6.1 | The facility Ensures segregation of Bio Medical Waste as per guidelines and 'on-site' management of waste is carried out as per guidelines | Availability of colour coded bins at point of waste generation | 1 | OB
|  | Availability of plastic colour coded plastic bags | 1 | OB
|  | Segregation of different category of waste as per guidelines | 1 | OB/SI
|  | Display of work instructions for segregation and handling of Biomedical waste | 1 | OB
|  | There is no mixing of infectious and general waste | 1 | OB
ME F6.2 | The facility ensures management of sharps as per guidelines | Availability of functional needle cutters | 1 | OB | See if it has been used or just lying idle
|  | Availability of puncture proof box | 1 | OB | Should be available nears the point of generation like nursing station and injection room
|  | Disinfection of sharp before disposal | 1 | OB/SI | Disinfection of syringes is not done in open buckets
|  | Staff is aware of contact time for disinfection of sharps | 1 | SI
|  | Availability of post exposure prophylaxis | 1 | OB/SI | Ask if available. Where it is stored and who is in charge of that.
|  | Staff knows what to do in condition of needle stick injury | 1 | SI | Staff knows what to do in case of shape injury. Whom to report. See if any reporting has been done
ME F6.3 | The facility ensures transportation and disposal of waste as per guidelines | Check bins are not overfilled | 1 | SI
|  | Disinfection of liquid waste before disposal | 1 | SI/OB
|  | Transportation of bio medical waste is done in close container/trolley | 1 | SI/OB
|  | Staff aware of mercury spill management | 1 | SI/RR
| Area of Concern - G Quality Management | [5 empty] | 40 | 80
Standard G1 | The facility has established organizational framework for quality improvement | [5 empty] | 1 | 2
ME G1.1 | The facility has a quality team in place | There is a designated departmental nodal person for coordinating Quality Assurance activities | 1 | SI/RR
ME G1.2 | The facility reviews quality of its services at periodic intervals
Standard G2 | The facility has established system for patient and employee satisfaction
ME G2.1 | Patient satisfaction surveys are conducted at periodic intervals
ME G2.2 | The facility analyses the patient feed back, and root-cause analysis
ME G2.3 | The facility prepares the action plans for the areas, contributing to low satisfaction of patients
Standard G3 | The facility have established internal and external quality assurance Programmes wherever it is critical to quality. | [5 empty] | 3 | 6
ME G3.1 | The facility has established internal quality assurance programme in key departments | There is system daily round by matron/hospital manager/ hospital superintendent/ Hospital Manager/ Matron in charge for monitoring of services | 1 | SI/RR
ME G3.2 | The facility has established external assurance programmes at relevant departments
ME G3.3 | The facility has established system for use of check lists in different departments and services | Departmental checklist are used for monitoring and quality assurance | 1 | SI/RR
|  | Staff is designated for filling and monitoring of these checklists | 1 | SI
Standard G4 | The facility has established, documented implemented and maintained Standard Operating Procedures for all key processes and support services. | [5 empty] | 20 | 40
ME G4.1 | Departmental standard operating procedures are available | Standard operating procedure for department has been prepared and approved | 1 | RR
|  | Current version of SOP are available with process owner | 1 | OB/RR
ME G4.2 | Standard Operating Procedures adequately describes process and procedures | Department has documented procedure for receiving and assessment of the patient of delivery | 1 | RR
|  | Labour room has documented procedure for Emergency obstetric care | 1 | RR
|  | Department has documented procedure for management of high risk pregnancy | 1 | RR
|  | Department has documented procedure for rapid initial assessment | 1 | RR
|  | Department has documented procedure for requisition of diagnosis and receiving of the reports | 1 | RR
|  | Department has documented procedure for intra partum care | 1 | RR | Intrapartum care includes Management of 1st stage of labour, 2nd stage of labour and 3rd stage of labour
|  | Department has documented immediate post partum care | 1 | RR
|  | Department has documented essential new born care | 1 | RR
|  | Department has documented procedure for neonatal resuscitation | 1 | RR
|  | Department has documented procedure for admission, shifting and referral of the patient | 1 | RR
|  | Department has documented procedure for arrangement of intervention for labour room | 1 | RR | Labour room management include maintenance and calibration of equipments and inventory management etc
|  | Labour room has documented procedure for blood transfusion | 1 | RR
|  | Labour room has documented criteria for distinguish between newborn death and still birth | 1 | RR
|  | Labour room has documented procedure for environmental cleaning and processing of the equipment | 1 | RR
|  | Labour room has documented procedure for maintenance of rights and dignity of pregnant women | 1 | RR
|  | Department has documented procedure for record Maintenance including taking consent | 1 | RR
ME G4.3 | Staff is trained and aware of the procedures written in SOPs | Check Staff is a aware of relevant part of SOPs | 1 | SI/RR
ME G4.4 | Work instructions are displayed at Point of use | Work instruction/clinical protocols are displayed | 1 | OB | AMSTL, PPH,Infection control,Eclamsia, New born resuscitation, kangaroo care
Standard G 5 | The facility maps its key processes and seeks to make them more efficient by reducing non value adding activities and wastages | [5 empty] | 3 | 6
ME G5.1 | The facility maps its critical processes | Process mapping of critical processes done | 1 | SI/RR
ME G5.2 | The facility identifies non value adding activities / waste / redundant activities | Non value adding activities are identified | 1 | SI/RR
ME G5.3 | The facility takes corrective action to improve the processes | Processes are rearranged as per requirement | 1 | SI/RR
Standard G6 | The facility has established system of periodic review as internal assessment , medical & death audit and prescription audit | [5 empty] | 4 | 8
ME G6.1 | The facility conducts periodic internal assessment | Internal assessment is done at periodic interval | 1 | RR/SI
ME G6.2 | The facility conducts the periodic prescription/ medical/death audits
ME G6.3 | The facility ensures non compliances are enumerated and recorded adequately | Non Compliance are enumerated and recorded | 1 | RR/SI
ME G6.4 | Action plan is made on the gaps found in the assessment / audit process | Action plan prepared | 1 | RR/SI
ME G6.5 | Corrective and preventive actions are taken to address issues, observed in the assessment & audit | Corrective and preventive action taken | 1 | RR/SI
Standard G7 | The facility has defined and established Quality Policy & Quality Objectives | [5 empty] | 3 | 6
ME G7.1 | The facility defines its quality policy
ME G7.2 | The facility periodically defines its quality objectives and key departments have their own objectives | Quality objective for labour room are defined | 1 | RR/SI
ME G7.3 | Quality policy and objectives are disseminated and staff is aware of that | Check of staff is aware of quality policy and objectives | 1 | SI
ME G7.4 | Progress towards quality objectives is monitored periodically | Quality objectives are monitored and reviewed periodically | 1 | SI/RR
Standard G8 | The facility seeks continually improvement by practicing Quality method and tools. | [5 empty] | 6 | 12
ME G8.1 | The facility uses method for quality improvement in services | PDCA | 1 | SI/RR
|  | 5S | 1 | SI/OB
|  | Mistake proofing | 1 | SI/OB
|  | Six Sigma | 1 | SI/RR
ME G8.2 | The facility uses tools for quality improvement in services | 6 basic tools of Quality | 1 | SI/RR
|  | Pareto/Prioritization | 1 | SI/RR
| Area of Concern - H Outcome | [5 empty] | 17 | 34
Standard H1 | The facility measures Productivity Indicators and ensures compliance with State/National benchmarks | [5 empty] | 6 | 12
ME H1.1 | Facility measures productivity Indicators on monthly basis | Normal Deliveries per 1000 population | 1 | RR
|  | Proportion of deliveries conducted at night | 1 | RR
|  | Proportion of complicated cases managed | 1 | RR
|  | Proportion assisted delivery conducted | 1 | RR
|  | % PPIUCD inserted against total IUCD | 1 | RR
ME H1.2 | The Facility measures equity indicators periodically | Proportion of BPL Deliveries | 1 | RR
ME H1.3 | Facility ensures compliance of key productivity indicators with national/state benchmarks
Standard H2 | The facility measures Efficiency Indicators and ensure to reach State/National Benchmark | [5 empty] | 4 | 8
ME H2.1 | Facility measures efficiency Indicators on monthly basis | Proportion of cases referred to OT | 1 | RR
|  | Proportion of cases referred to Higher Facilities | 1 | RR
|  | % of newborns required resuscitation out of total live births | 1 | RR
|  | % of newborns required resuscitation out of total live births | 1 | RR
ME H2.2 | Facility ensures compliance of key efficiency indicators with national/state benchmarks
Standard H3 | The facility measures Clinical Care & Safety Indicators and tries to reach State/National benchmark | [5 empty] | 6 | 12
ME H3.1 | Facility measures Clinical Care & Safety Indicators on monthly basis | Proportion of cases partograph maintained | 1 | RR
|  | Episiotomy site infection rate | 1 | RR
|  | No of adverse events per thousand patients | 1 | RR
|  | Culture Surveillance sterility rate | 1 | RR | % of environmental swab culture reported positive
|  | Proportion of cases of different complications | 1 | RR | PPH, Eclampsia, obstructed labour etc.
|  | Rational oxytocin usage Index | 1 | RR | No. of Oxytocin doses used /No. of normal deliveries conducted | Source: NICE Kerala Standard
ME H3.2 | Facility ensures compliance of key Clinical Care & Safety with national/state benchmarks
Standard H4 | The facility measures Service Quality Indicators and endeavours to reach State/National benchmark | [5 empty] | 1 | 2
ME H4.1 | Facility measures Service Quality Indicators on monthly basis | Patient satisfaction | 1 | RR
ME H4.2 | Facility ensures compliance of key Service Quality with national/state benchmarks